## Sheet1
18PSX0329
SCHEDULE 1 - LIST OF EQUIPMENT
ROWLAND GOVERNMENT CENTER, 55 WEST MAIN STREET, WATERBURY
QUANTITY | MANUFACTURER/ COMPONENT | MODEL | LOCATION
2 | HB Smith 28A-5 Gas Fired Boilers | Cl-G0-12 | 1st floor -Boiler Room
2 | Taco Heating & Specialty Pumps | 1919 | 1st floor -Boiler Room
4 | Trane Intellinake AHU's | SXHF | Roof
1 | Mitsubishi Split System | PUY-A42nh4a | Loading Dock
1 | Mitsubishi Split System | PU18EK | 1st Floor - Mail Room
1 | Sanyo Split System | KS1872 | Elevator Room
124 | VAV's (once per year) |  | Floors 1 through 5
4 | 2 intake fans and 2 exhaust fans |  | Lower Level Garage
5 | Unit Heaters - Electric |  | Stairways (2), Pump Room (1), Rear Entrance (1), Maintenance Shop (1)
1 | Unit Heater - Gas |  | Boiler Room
1 | Modine Hydronic Unit Heater | HC-47SB01 SA | Loading Dock
DEPT. OF CHILDREN & FAMILIES, 395 WEST MAIN STREET, WATERBURY
QUANTITY | MANUFACTURER/ COMPONENT | MODEL | LOCATION
1 | Lennox Air Handling Unit | LGH360H4 | Roof
1 | Trane Air Handling Unit | YCD241C3HACA | Roof
1 | Trane Air Handling Unit | YHC063A#RMAOHFA | Roof
1 | Trane Air Handling Unit | YHC120A3RHA27G | Roof
1 | Carrier Split System | 40QNB0243GO | Server Room