THE SUPPLY AND INSTALLATION OF DUCTLESS SPLIT TYPE AIR CONDITIONING UNITS AT HAWLEY SCHOOL AND NEWTOWN MIDDLE SCHOOL

PROJECT # - 01252019NEWTOWN

ADDENDUM #1

The following changes have been made to the original RFP for this project:

- The American Standard Air Handler to be installed at Newtown Middle School must be model #TWE6043AAAP004

- American Standard Condenser model #4A7C3060D300D

- Air Handler mixing box model #TMB60

- Hot Water Coil model #BAYWATR027B

- Everything is 208volt 3 phase.