Bid Number: 212-01

Bid Title: Access Control System

Addendum 1:

1. If the weather is severe on Thursday, February 28, 2019, emailed copies of Proposals will be accepted before 4:00 p.m. Hard copy is preferred. If emailed a hard copy must be submitted to the Selectman’s Office by 12:00 p.m. on Monday, March 4, 2019. Bid opening will take place at 4:05 p.m. on Thursday, February 28, 2019, in the Multi Media Room across from the Selectman’s Office.

2. No bid bond is required.

3. Number of users 500 or more. Multiple groups with multiple levels and time zones.

4. Electric strikes and panic hardware to be installed at the following locations:

a) Mulvey Municipal Center

2) Resident Trooper, Constables & Public Health

5) South Side (additional door)

c) Fire Dept. Headquarters

9) Mezzanine Door (additional door)