|  |  |
| --- | --- |
| Project Name | Upgrade Security Systems – Community Room |
| Pre-bid, mandatory Walk-thru Date  | March 27, 2019- 10:00 am |
| Request for Clarifications Deadline | April 3,2019- 5:00 pm |
| Request for Clarifications Response | April 8, 2019 |
| Bid Opening | April 26, 2019 - 2:00 pm |

Addendum #1 03/22/2019

With regards to project “Upgrade Security Systems- Community Rooms”

Please add an electrical add/deduct to the quotation to be submitted as described above.

The electrical add/deduct will include all equipment and labor to provide quad receptacles to all rooms containing a switch and or power requirement for wireless equipment.

Please see the diagram as provided there are approximately 13 locations where power quad receptacles will be added from existing electrical wiring.

All equipment provided will require acceptance from owner and representative and all work must be performed by licensed electrical personnel and meet electrical inspection codes for the Town of East Hartford CT.

Reed Hill and Associates

Fernando A Flores