|  |  |
| --- | --- |
| Project Name | Upgrade Security Systems – Community Room |
| Pre-bid, mandatory Walk-thru Date | March 21, 2019- 10:00 am |
| Request for Clarifications Deadline | April 3,2019- 5:00 pm |
| Request for Clarifications Response | April 8 2019 |
| Bid Opening | April 26, 2019 - 2:00 pm |

Addendum #3 4/1/2019

With regards to project “Upgrade Security Systems- Community Rooms”.

Here are the conditions of the attic areas which will be accessible by the chosen integrator

Hockanum Park Apartments:

1.     There are block fire walls in the attic areas. The walls are located in 1/3 or ½ of each length of building and are composed of cinder blocks. For example building number 15 is broken into 3 sections where the jogs are, and building 14 is separated in the middle of the building. Building 4 is at the jogs.

2.       The attic insulation is not asbestos.

Shea Garden Apartments:

1.       The attic areas have a clear span from end to end.

2.       The attic insulation is not asbestos.

See attached schematic #3

Reed Hill and Associates

Fernando A Flores