|  |  |
| --- | --- |
| Project Name | Upgrade Security Systems – Community Room |
| Pre-bid, mandatory Walk-thru Date | March 21, 2019- 10:00 am |
| Request for Clarifications Deadline | April 3,2019- 5:00 pm |
| Request for Clarifications Response | April 8 2019 |
| Bid Opening | April 26, 2019 - 2:00 pm |

Addendum #4 4/1/2019

With regards to project “Upgrade Security Systems- Community Rooms”.

**Question**

The spec calls for 3 (LPR) cameras- will third-party LPR software be required? Or will they just use the VMS?

**Answer**

The cameras will be license plate capture not recognition- no OCR necessary

**Question**

The 75 inch interactive LED display- can you be more definitive on this? Also, is this display required?

**Answer**

The display will not be required, please use an add / deduct for the screen and install.

**Question**

Will the Town of East Hartford permit be waved for this project?

**Answer**

The town will not waive the permit fee please include same

**Question**

Will a network drop be provided in the Hockanum community building for the new RS2 panel- or is there an existing one?

**Answer**

Yes, a new Comcast drop has been ordered for the site Hockanum community building

Fernando A Flores