## RFP SCOPE-RESPONSE SPREADSHEET
UConn HEALTH REQUEST FOR PROPOSALS |  | SCOPE & RESPONSE SPREADSHEET UCHC RFP-05 Form Rev. 5/17 |  |  | RFP #: | UCHC 1-114668776 Cardiac Catheterization Laboratory Equipment | [5 empty] | FULL WIDTH TEXT (INSTRUCTIONS) | UCHC 1-114668776 Cardiac Catheterization Laboratory Equipment | PARTIAL WIDTH - PRICE SEC. (ITEM DESCRIPTIONS)
[5 empty] | Proposer Name: | [7 empty] | PARTIAL WIDTH TEXT (QUESTIONS & RESPONSES)
INSTRUCTIONS: Proposers must answer all questions/requests by entering responses directly into the fields provided on this spreadsheet. For ease of identification, the fields that require data entry are shaded in RED when they are blank. Shading will turn GREEN when you enter any text. Additional information/pages must be attached if required by the instructions that accompany each question/request. Responses must include sufficient detail for UConn Health to determine that all RFP requirements have been met. Failure to provide all information may result in rejection of your proposal. Contact the identified Buyer immediately if any text on this form is not legible or if you have difficulty entering responses in the required fields. NOTE: If any of the text in a "Requirements/Questions" field appears to be cut off, simply type a character or select a dropdown option in the "Proposer's Response" field for that row to readjust the row height. (The complete Requirements text should remain visible even if you then delete the character or selected dropdown option from the Response field.) | [11 empty] | INSTRUCTIONS: Proposers must answer all questions/requests by entering responses directly into the fields provided on this spreadsheet. For ease of identification, the fields that require data entry are shaded in RED when they are blank. Shading will turn GREEN when you enter any text. Additional information/pages must be attached if required by the instructions that accompany each question/request. Responses must include sufficient detail for UConn Health to determine that all RFP requirements have been met. Failure to provide all information may result in rejection of your proposal. Contact the identified Buyer immediately if any text on this form is not legible or if you have difficulty entering responses in the required fields. NOTE: If any of the text in a "Requirements/Questions" field appears to be cut off, simply type a character or select a dropdown option in the "Proposer's Response" field for that row to readjust the row height. (The complete Requirements text should remain visible even if you then delete the character or selected dropdown option from the Response field.)
1. RFP OBJECTIVE & OVERVIEW | [11 empty] | 1. RFP OBJECTIVE & OVERVIEW
The University of Connecticut Health Center (UConn Health) is requesting proposals from qualified organizations to provide a Five Year Lease Agreement for a New Single Plane Digital Cardiac and Vascular Catherization Laboratory System with a Flat Panel Detector. | [11 empty] | The University of Connecticut Health Center (UConn Health) is requesting proposals from qualified organizations to provide a Five Year Lease Agreement for a New Single Plane Digital Cardiac and Vascular Catherization Laboratory System with a Flat Panel Detector.
The term of the award resulting from this RFP will be Five Year Lease Agreement to include (4) Year Service Agreement and buyout options. | [11 empty] | The term of the award resulting from this RFP will be Five Year Lease Agreement to include (4) Year Service Agreement and buyout options.
UConn Health expects to make one (1) award to one (1) supplier based on the Selection Committee's evaluation of proposals received. See the Evaluation Criteria for additional information about proposal evaluation parameters. | [11 empty] | UConn Health expects to make one (1) award to one (1) supplier based on the Selection Committee's evaluation of proposals received. See the Evaluation Criteria for additional information about proposal evaluation parameters.
The award may be made by either the issuance of a purchase order or the signing of a contract, at UConn Health's sole option. A sample purchase order and/or contract is included with this RFP. Any resulting contract may be processed through either UConn Health or The University of Connecticut Health Center Finance Corporation (UCHCFC). UCHCFC is a statutorily-created public instrumentality and political subdivision of the state of Connecticut that was established to promote UConn Health’s efficient and effective provision of health care services. In performing its statutory functions, UCHCFC enters into a variety of contracts on behalf of UConn Health’s clinical operations. | [11 empty] | The award may be made by either the issuance of a purchase order or the signing of a contract, at UConn Health's sole option. A sample purchase order and/or contract is included with this RFP. Any resulting contract may be processed through either UConn Health or The University of Connecticut Health Center Finance Corporation (UCHCFC). UCHCFC is a statutorily-created public instrumentality and political subdivision of the state of Connecticut that was established to promote UConn Health’s efficient and effective provision of health care services. In performing its statutory functions, UCHCFC enters into a variety of contracts on behalf of UConn Health’s clinical operations.
Subcontracting will not be allowed. | [11 empty] | Subcontracting will not be allowed.
2. SCOPE OF WORK REQUIREMENTS & QUESTIONS FOR PROPOSER
Scope of Work Requirements/Questions |  |  |  |  | Type of Response Required | Proposer's Response
UConn Health is looking for a "Complete" Peripheral System including an appropriately sized flat "Hybrid" panel and the capability for peripheral studies including run off, subtraction and road mapping.
The proposer shall provide within the SFP information on the structure loading requirement for their equipment including point loads, overhead support requirements, floor and ceiling loads. The proposer shall provide electrical power and grounding requirements including power line conditioning and protection from spikes, surges, sages, loss of power and other power line interference. The proposer shall provide information on the environmental requirement for their equipment including humidity, cooling and heating. The proposer shall review the structural and electrical information provided by UConn Health and indicate any modifications, ancillary devices or special installations that would be required to accommodate the proposed equipment. The proposer shall identify and include any related special installation requirements or devices that are supplied by the proposer to address structural, electrical and environmental conditions within their response. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | The proposer shall provide within the SFP information on the structure loading requirement for their equipment including point loads, overhead support requirements, floor and ceiling loads. The proposer shall provide electrical power and grounding requirements including power line conditioning and protection from spikes, surges, sages, loss of power and other power line interference. The proposer shall provide information on the environmental requirement for their equipment including humidity, cooling and heating. The proposer shall review the structural and electrical information provided by UConn Health and indicate any modifications, ancillary devices or special installations that would be required to accommodate the proposed equipment. The proposer shall identify and include any related special installation requirements or devices that are supplied by the proposer to address structural, electrical and environmental conditions within their response.
The proposer must provide power line conditioning and Uninterruptible Power System (UPS) protection as required to protect all components of the Digital Cardiac and Vascular Catheterization Laboratory from power line sags and surges/and to allow the system to not be damaged or affected by power interruptions and allow for completion and data storage for current case. The UPS must be sized to allow continuation of all operations of the imaging system without interruption for typically ten (10) to fifteen (15) minutes during the transfer to emergency power or to allow removal of the catheters and to shut down the case, in the event of emergency power failure. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | The proposer must provide power line conditioning and Uninterruptible Power System (UPS) protection as required to protect all components of the Digital Cardiac and Vascular Catheterization Laboratory from power line sags and surges/and to allow the system to not be damaged or affected by power interruptions and allow for completion and data storage for current case. The UPS must be sized to allow continuation of all operations of the imaging system without interruption for typically ten (10) to fifteen (15) minutes during the transfer to emergency power or to allow removal of the catheters and to shut down the case, in the event of emergency power failure.
The proposer shall provide to UConn Health, at no additional cost, any safety-related and service diagnostic upgrades for the equipment purchased, for the life of the equipment. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | The proposer shall provide to UConn Health, at no additional cost, any safety-related and service diagnostic upgrades for the equipment purchased, for the life of the equipment.
The Digital Cardiac and Vascular Catheterization Laboratory must be Food and Drug Administration (FDA) Approved and comply with the requirements of the Bureau of Radiological Health. Any components of the system involved with direct patient care must comply with National Fire Protection Association (NFPA) 99-1999 Health Care Facilities standards for medical equipment and meet Underwriters Laboratory Standard #60601-1 (or equivalent) for Medical Equipment. Compliance with these standards ensures that the product will meet radiological, electrical, and general safety requirements for use in the patient vicinity in the healthcare environment. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | The Digital Cardiac and Vascular Catheterization Laboratory must be Food and Drug Administration (FDA) Approved and comply with the requirements of the Bureau of Radiological Health. Any components of the system involved with direct patient care must comply with National Fire Protection Association (NFPA) 99-1999 Health Care Facilities standards for medical equipment and meet Underwriters Laboratory Standard #60601-1 (or equivalent) for Medical Equipment. Compliance with these standards ensures that the product will meet radiological, electrical, and general safety requirements for use in the patient vicinity in the healthcare environment.
In addition to Standard Installation Guidelines, UConn Health requests Site Specific Installation Guidelines be included in the Proposer's response, due to the aggressive project timeline. |  |  |  |  | Yes/No (Dropdown)
Following receipt of a valid purchase order, Proposer shall indicate in their response the expected delivery date. 1. Site Specific Installation Guideline (if not provided with proposal response) and 2. Digital Cardiac and Vascular Catherization Laboratory. |  |  |  |  | Yes/No (Dropdown)
Trade-in Credit: UConn Health requests the contractor to provide a trade-in credit for the existing Siemens Axiom Artis including X-Ray tube, image intensifier, frame grabber, table, monitor bank and monitors and gantry. As part of the trade-in the proposer is required to de-install the room and to comply with all State of Connecticut and Bureau of Radiological Health requirements for proper transportation and disposition of radiological equipment. The catheterization lab is a Siemens Siemens Axiom Artis , Serial number 46176 and purchased new in 2007. Proposer must agree to the following: |  |  |  |  | Yes/No (Dropdown)
I acknowledge that this equipment contains components that may be classified as hazardous and/or universal waste at time of disposal. Handling of such material will be done according to standard safety practices. Disposal of such materials will be in accordance with all federal, state and local regulations regarding hazardous waste/ |  |  |  |  | Yes/No (Dropdown)
A medical physicist currently under contract to perform compliance testing of x-ray devices at the UConn Health will perform acceptance testing. |  |  |  |  | Yes/No (Dropdown)
Training | [12 empty] | Training
The proposer shall provide formal and informal training for the UConn Health Cardiology Department staff including physicians, residents, sonographers, and clinical personnel in the operation of the Digital Cardiac and Vascular Catherization Laboratory.. The proposer will cover all training expenses including tuition, travel, and per diem, if training is performed off-site. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | The proposer shall provide formal and informal training for the UConn Health Cardiology Department staff including physicians, residents, sonographers, and clinical personnel in the operation of the Digital Cardiac and Vascular Catherization Laboratory.. The proposer will cover all training expenses including tuition, travel, and per diem, if training is performed off-site.
The proposer shall also provide factory-level training for one (1) UConn Health service personnel on preventative maintenance and first echelon repair of the Digital Cardiac and Vascular Catheterization Laboratory. If training is performed off-site, the proposer shall cover all training expenses including tuition, travel and per diem. |  |  |  |  | Yes/No (Dropdown)
Service | [12 empty] | Service
The proposer shall perform installation of the Digital Cardiac and Vascular Catherization Laboratory including all rigging of equipment as well as delivery and installation of any mounting strut and/or hardware for the ceiling or floor. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | The proposer shall perform installation of the Digital Cardiac and Vascular Catherization Laboratory including all rigging of equipment as well as delivery and installation of any mounting strut and/or hardware for the ceiling or floor.
Training Manuals The proposer shall provide two complete sets of Operator Manuals, Service Manuals, schematics, and parts lists for the Cardiac Catherization Imaging System including all accessories. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | Training Manuals The proposer shall provide two complete sets of Operator Manuals, Service Manuals, schematics, and parts lists for the Cardiac Catherization Imaging System including all accessories.
Acceptances and Warranty Clinical Engineering, Planning and Construction, the Cardiology Department, and Radiation Safety shall perform acceptance testing. Acceptance testing shall include the verification of all equipment technical specifications, software, and safety features. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | Acceptances and Warranty Clinical Engineering, Planning and Construction, the Cardiology Department, and Radiation Safety shall perform acceptance testing. Acceptance testing shall include the verification of all equipment technical specifications, software, and safety features.
A minimum 12-month warranty period is to begin when the system is fully operational and accepted for clinical use and performs as described in the technical specifications. During the warranty period, the UConn Health has the right to return the system, without penalty, for full refund, if it is found to be unacceptable due to deficiencies in meeting the technical and performance specifications on the bid and in the system’s product literature. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | A minimum 12-month warranty period is to begin when the system is fully operational and accepted for clinical use and performs as described in the technical specifications. During the warranty period, the UConn Health has the right to return the system, without penalty, for full refund, if it is found to be unacceptable due to deficiencies in meeting the technical and performance specifications on the bid and in the system’s product literature.
During the warranty period the proposer will furnish all labor, travel, and parts necessary to maintain all equipment specified under the purchase agreement in proper operating condition. The Proposer shall provide services twenty-four (24) hours per day, seven (7) days per week, and three hundred and sixty-five (365) days per year as necessary for urgently needed repairs. Proposer shall respond, on-site, within four (4) hours, during the warranty period. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | During the warranty period the proposer will furnish all labor, travel, and parts necessary to maintain all equipment specified under the purchase agreement in proper operating condition. The Proposer shall provide services twenty-four (24) hours per day, seven (7) days per week, and three hundred and sixty-five (365) days per year as necessary for urgently needed repairs. Proposer shall respond, on-site, within four (4) hours, during the warranty period.
Service Response Time During the Warranty and For the Life of the Equipment. | [12 empty] | Service Response Time During the Warranty and For the Life of the Equipment.
The proposer will provide telephone and on-site response for emergency service requests 24-hrs-day, 365 days-yr. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | The proposer will provide telephone and on-site response for emergency service requests 24-hrs-day, 365 days-yr.
Telephone response to service problems will be provided within 30 minutes and the proposer must provide phone support for operational and technical problems at no charge for the life of the equipment. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | Telephone response to service problems will be provided within 30 minutes and the proposer must provide phone support for operational and technical problems at no charge for the life of the equipment.
The proposer will provide (4) hour on-site response time to service problems for the Digital Cardiac and Vascular Catherization Laboratory.. State the location of the primary service engineer and the location and travel time for backup service support for the primary service engineer, in the event of sickness, vacation, etc. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | The proposer will provide (4) hour on-site response time to service problems for the Digital Cardiac and Vascular Catherization Laboratory.. State the location of the primary service engineer and the location and travel time for backup service support for the primary service engineer, in the event of sickness, vacation, etc.
The response time will be the same whether under service contract or if maintenance is handled on a time & materials basis, following the warranty period. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | The response time will be the same whether under service contract or if maintenance is handled on a time & materials basis, following the warranty period.
Documentation | [12 empty] | Documentation
The proposer will provide the UConn Health Clinical Engineering Dept. with individual written reports for each maintenance event whether it be scheduled maintenance or repair. All such documentation must be acceptable to the field surveyors of the Joint Commission(TJC), the State of Connecticut Department of Health, and the Bureau of Radiological Health. The reports must adequately detail the work performed, including hard copy documentation of phantom scans showing resolution, accuracy, and tissue differentiation. The reports must provide accurate hours for labor and travel and give prices for any parts or subassemblies that were replaced. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | The proposer will provide the UConn Health Clinical Engineering Dept. with individual written reports for each maintenance event whether it be scheduled maintenance or repair. All such documentation must be acceptable to the field surveyors of the Joint Commission(TJC), the State of Connecticut Department of Health, and the Bureau of Radiological Health. The reports must adequately detail the work performed, including hard copy documentation of phantom scans showing resolution, accuracy, and tissue differentiation. The reports must provide accurate hours for labor and travel and give prices for any parts or subassemblies that were replaced.
Hours of Coverage - During and After the Warranty Period The Principal Period of Maintenance (PPM) on the items purchased will be from 8:00am - 8:00pm, Monday - Friday, excluding legal holidays. During this time period, normal labor and travel rates will apply (if service is not covered by the warranty). Premium rates will apply if service is requested by the UConn Health outside the PPM. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | Hours of Coverage - During and After the Warranty Period The Principal Period of Maintenance (PPM) on the items purchased will be from 8:00am - 8:00pm, Monday - Friday, excluding legal holidays. During this time period, normal labor and travel rates will apply (if service is not covered by the warranty). Premium rates will apply if service is requested by the UConn Health outside the PPM.
Service Options Following Warranty Period In House Support Proposal - For the Cardiac and Vascular Catheterization Laboratory and all associated equipment state the cost of a service contract in which the in-house biomedical engineering personnel will provide first echelon support for equipment failures during normal working hours, from 8:00 am and 5:00 pm, Monday through Friday. Following first echelon response by in-house personnel or for service problems arising after normal hours, the contractor shall respond and provide full labor, travel, and parts, x-ray tubes, flat detectors as needed to resolve service problems. Contractor will also perform all PM's which UConn Health will schedule off hours form the PPM or on the weekend. Contractor shall provide extended hours of coverage into the late evening., Monday through Friday. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | Service Options Following Warranty Period In House Support Proposal - For the Cardiac and Vascular Catheterization Laboratory and all associated equipment state the cost of a service contract in which the in-house biomedical engineering personnel will provide first echelon support for equipment failures during normal working hours, from 8:00 am and 5:00 pm, Monday through Friday. Following first echelon response by in-house personnel or for service problems arising after normal hours, the contractor shall respond and provide full labor, travel, and parts, x-ray tubes, flat detectors as needed to resolve service problems. Contractor will also perform all PM's which UConn Health will schedule off hours form the PPM or on the weekend. Contractor shall provide extended hours of coverage into the late evening., Monday through Friday.
Full Service Proposal Sate the cost of a full service contract including travel, labor, parts, glassware and flat detectors for normal business hours, extended hours of coverage and to have preventive maintenance performed on the weekends or off hours. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | Full Service Proposal Sate the cost of a full service contract including travel, labor, parts, glassware and flat detectors for normal business hours, extended hours of coverage and to have preventive maintenance performed on the weekends or off hours.
State location of repair parts depot for major repair parts and typical on-site delivery times for major parts, PC boards and components including glassware and flat panel detectors. |  |  |  |  | Yes/No (Dropdown)
Uptime guarantee for the warranty period and for full service contracts The service proposer will guarantee 99% uptime during the PPM from 8:00am - 8:00pm, Monday-Friday, excluding six (6 ) legal holidays. This totals 765 hours per quarter. The uptime will be calculated as follows, at the end of each quarter: [(765 hrs. - hours of hard down time) / 765 hrs.] x 100 = % uptime If the system falls below the guaranteed uptime, the warranty will be extended one month for each percent below the 99% uptime or the quarterly service contract payment will be reduced according to the following table if under service contract: UPTIME REDUCTION 99.0 - 100% NONE 95.0 - 98.9% 10% 90.0 - 94.9% 15% 80.0 - 89.9% 20% 79.9 or below 25% |  |  |  |  | Text
Calibration and Test Equipment
The proposer will provide calibration procedures, and necessary calibration tools, fixtures, phantoms, etc., shall be provided with the system in order to check and calibrate the system |  |  |  |  | Yes/No (Dropdown)
Networking and Native DICOM 3 Compatibility
Discuss the system's networking capabilities with respect to patient data information systems and department management systems and the system's ability to transfer reports, data and images between PC's, via networks, FAX, and modems. Image transfer must comply with Native DICOM 3 protocols. If these features are optional, state additional costs for each capability. |  |  |  |  | Text
The DICOM image transfer option purchased with this system must be Native DICOM 3 and the proposer must provide the DICOM Conformance Statement for their system and guarantee that it will work with the Radiology Department’s and UConn Health’s DICOM-compatible Merge image archiving systems, as presently exists, and as these systems come on-line in the near future. Must be able to integrate OB server for reporting package. Must be able to interface with EPIC. |  |  |  |  | Text
Remote Service Diagnostics
State the availability of remote service diagnostics for this equipment and any hardware, software, licensing, and telecommunications connections required for UConn Health to take advantage of these remote diagnostics. State the costs and/or licensing fees required of UConn Health following the warranty period to access these remote diagnostics. Following the warranty period and for the life of the device, the proposer will provide UConn Health with access to these remote diagnostics regardless of the service program selected by UConn Health for this device. |  |  |  |  | Text
Enhancements
Software Enhancements Any software packages and enhancements to the Cardiac Catherization Imaging System that are presently being developed and are released during the warranty period will be provided to UConn Health at no charge. |  |  |  |  | Yes/No (Dropdown)
Hardware Enhancements Any hardware enhancements or platform upgrades developed for the Cardiac Catherization Imaging System that are released during the warranty period will be provided to UConn Health at a 50% discount off list price. |  |  |  |  | Yes/No (Dropdown)
HIPAA Requirements:
The proposer must commit to UConn Health that the system will comply with the Health Insurance Portability and Accountability Act requirements as they are defined by agencies having jurisdiction. These requirements will impact the electronic transfer of data, patient privacy, security, and administrative standards for computerized networked health care instrumentation and systems. The proposer must embrace compliance with these standards and guarantee that their instruments will comply as necessary. |  |  |  |  | Yes/No (Dropdown)
26. Methodologies - Provide a detailed explanation of the procedures and processes that you will use to accomplish the scope of work requirements described in this RFP. |  |  |  |  | Text | [7 empty] | 26. Methodologies - Provide a detailed explanation of the procedures and processes that you will use to accomplish the scope of work requirements described in this RFP.
27. Deliverables - Describe each deliverable/outcome. Explain how you plan to work with UConn Health to achieve each one, any resources or services that you expect UConn Health to provide, and your proposed method of obtaining UConn Health's approval of deliverables/outcomes. |  |  |  |  | Text | [7 empty] | 27. Deliverables - Describe each deliverable/outcome. Explain how you plan to work with UConn Health to achieve each one, any resources or services that you expect UConn Health to provide, and your proposed method of obtaining UConn Health's approval of deliverables/outcomes.
28. Schedule - Provide your proposed schedule/timeline for completing the requirements described in this RFP; include any significant milestones and deadlines for all deliverables/outcomes. |  |  |  |  | Text | [7 empty] | 28. Schedule - Provide your proposed schedule/timeline for completing the requirements described in this RFP; include any significant milestones and deadlines for all deliverables/outcomes.
3. PROPOSER QUALIFICATIONS | [12 empty] | 3. PROPOSER QUALIFICATIONS
The information supplied in this section will be used to assess each Proposer's qualifications and determine if the Proposer is responsible and capable of providing the goods/services described in this RFP. Responses to this section must describe the Proposer’s background, experience, size and resources relevant to this RFP. | [11 empty] | The information supplied in this section will be used to assess each Proposer's qualifications and determine if the Proposer is responsible and capable of providing the goods/services described in this RFP. Responses to this section must describe the Proposer’s background, experience, size and resources relevant to this RFP.
Qualification Requirements |  |  |  |  | Type of Response Required | Proposer's Response | [6 empty] | Qualification Requirements
A. General Company Information | [12 empty] | A. General Company Information
1. Company name |  |  |  |  | Text | [7 empty] | 1. Company name
2. Company address |  |  |  |  | Text | [7 empty] | 2. Company address
3. Contact person - name & job title |  |  |  |  | Text | [7 empty] | 3. Contact person - name & job title
4. Contact person - telephone number |  |  |  |  | Text | [7 empty] | 4. Contact person - telephone number
5. Contact person - fax number |  |  |  |  | Text | [7 empty] | 5. Contact person - fax number
6. Contact person - email address |  |  |  |  | Text | [7 empty] | 6. Contact person - email address
7. Number of years that Proposer's company has been in business, continuously providing the goods/services described in this RFP, under the same name and/or tax identification number. Note: Must be at least 5 year(s). |  |  |  |  | Number | [7 empty] | 7. Number of years that Proposer's company has been in business, continuously providing the goods/services described in this RFP, under the same name and/or tax identification number. Note: Must be at least 5 year(s).
8. Any other business/trade names that Proposer is currently known by or has been known by in the past |  |  |  |  | Text | [7 empty] | 8. Any other business/trade names that Proposer is currently known by or has been known by in the past
9. Standard days and hours of business |  |  |  |  | Text | [7 empty] | 9. Standard days and hours of business
10. Number of individuals currently employed full time (at least 35 hours/week) |  |  |  |  | Number | [7 empty] | 10. Number of individuals currently employed full time (at least 35 hours/week)
11. Number of individuals current employed part time (less than 35 hours/week) |  |  |  |  | Number | [7 empty] | 11. Number of individuals current employed part time (less than 35 hours/week)
12. Is Proposer registered with the Connecticut Secretary of the State's Office? |  |  |  |  | Yes/No (Dropdown) | [7 empty] | 12. Is Proposer registered with the Connecticut Secretary of the State's Office?
13. If requested, would Proposer provide a "Good Standing" certificate issued by the Connecticut Secretary of the State's Office? |  |  |  |  | Yes/No (Dropdown) | [7 empty] | 13. If requested, would Proposer provide a "Good Standing" certificate issued by the Connecticut Secretary of the State's Office?
B. Financial Information | [12 empty] | B. Financial Information
1. Current value of Proposer's equipment. |  |  |  |  | Dollar Value | [7 empty] | 1. Current value of Proposer's equipment.
2. Current value of all of Proposer's assets (including equipment, real estate, etc.). |  |  |  |  | Dollar Value | [7 empty] | 2. Current value of all of Proposer's assets (including equipment, real estate, etc.).
4. Does Proposer have a completed “Service Organization Control Report” (formerly known as a SAS 70 report)? Note: Regardless of Proposer's response to this question, UConn Health may require the awarded Proposer to submit a completed Service Organization Control Report in the format requested by UConn Health. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | 4. Does Proposer have a completed “Service Organization Control Report” (formerly known as a SAS 70 report)? Note: Regardless of Proposer's response to this question, UConn Health may require the awarded Proposer to submit a completed Service Organization Control Report in the format requested by UConn Health.
C. Experience and Staffing Relevant to this RFP | [12 empty] | C. Experience and Staffing Relevant to this RFP
1. Proposer has, under its direct employment and supervision, the necessary personnel, organization and facilities to properly fulfill all the services and conditions required by this RFP. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | 1. Proposer has, under its direct employment and supervision, the necessary personnel, organization and facilities to properly fulfill all the services and conditions required by this RFP.
2. Proposer has all of the certifications, licenses and/or registrations needed to legally provide the goods/services described in this RFP. Note: Proposer must provide copies of any such certifications, licenses and/or registrations upon UConn Health's request. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | 2. Proposer has all of the certifications, licenses and/or registrations needed to legally provide the goods/services described in this RFP. Note: Proposer must provide copies of any such certifications, licenses and/or registrations upon UConn Health's request.
3. Describe how the Proposer's experience meets the requirements of this RFP. |  |  |  |  | Text | [7 empty] | 3. Describe how the Proposer's experience meets the requirements of this RFP.
4. List the projects completed by Proposer within the last three (3) years with emphasis on activities relevant to the requirements specified in this RFP. |  |  |  |  | Text | [7 empty] | 4. List the projects completed by Proposer within the last three (3) years with emphasis on activities relevant to the requirements specified in this RFP.
5. Identify the personnel resources who will be assigned to fulfill of the requirements of this RFP if Proposer is selected. Provide each individual's name, title and the proportion of time that he/she will allocate to UConn Health's work. Note: Job descriptions and copies of resumes for each individual identified in response to this question must be attached to Proposer's response. UConn Health must receive advance written notice of any changes to the identified personnel. |  |  |  |  | Text | [7 empty] | 5. Identify the personnel resources who will be assigned to fulfill of the requirements of this RFP if Proposer is selected. Provide each individual's name, title and the proportion of time that he/she will allocate to UConn Health's work. Note: Job descriptions and copies of resumes for each individual identified in response to this question must be attached to Proposer's response. UConn Health must receive advance written notice of any changes to the identified personnel.
6. A copy of Proposer's organizational chart showing the hierarchical structure of functions and positions is included with Proposer's response. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | 6. A copy of Proposer's organizational chart showing the hierarchical structure of functions and positions is included with Proposer's response.
D. Legal/Regulatory Matters | [12 empty] | D. Legal/Regulatory Matters
1. Are there any criminal cases currently pending, or have there been any criminal convictions against Proposer or any its officers, principal shareholders, directors, partners or LLC members/managers? Note: If the answer is Yes, you must attach a list of the pending criminal cases and any convictions, including: the name of the individual or company named/convicted, the date the case was filed, the date of any conviction, the court where the case was filed, the nature of the case/conviction (including references to statutes, regulations, standards or orders cited), and any result/penalty. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | 1. Are there any criminal cases currently pending, or have there been any criminal convictions against Proposer or any its officers, principal shareholders, directors, partners or LLC members/managers? Note: If the answer is Yes, you must attach a list of the pending criminal cases and any convictions, including: the name of the individual or company named/convicted, the date the case was filed, the date of any conviction, the court where the case was filed, the nature of the case/conviction (including references to statutes, regulations, standards or orders cited), and any result/penalty.
2. Are any civil claims/lawsuits or governmental or administrative actions currently pending, or have any such lawsuits or actions been completed within the past 3 years, in any forum involving Proposer or any of Proposer's officers, principal shareholders, directors, partners or LLC members/managers? Note: If the answer is Yes, you must complete the Claims_Suits tab of this spreadsheet. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | 2. Are any civil claims/lawsuits or governmental or administrative actions currently pending, or have any such lawsuits or actions been completed within the past 3 years, in any forum involving Proposer or any of Proposer's officers, principal shareholders, directors, partners or LLC members/managers? Note: If the answer is Yes, you must complete the Claims_Suits tab of this spreadsheet.
3. In the past 3 years, has the Proposer, or any firm, corporation, partnership or association in which the Proposer has an interest been cited for any willful or serious violations of any occupational safety and health act, standard, order or regulation? Note: If the answer is Yes, you must attach a list of the following information for each violation/citation: the name of the individual or company cited, the date of the violation/citation, the nature of the violation/citation (including references to statutes, regulations, standards or orders violated), the name of the government agency that issued the citation, and the result/penalty (see Connecticut General Statutes section 31-57b). |  |  |  |  | Yes/No (Dropdown) | [7 empty] | 3. In the past 3 years, has the Proposer, or any firm, corporation, partnership or association in which the Proposer has an interest been cited for any willful or serious violations of any occupational safety and health act, standard, order or regulation? Note: If the answer is Yes, you must attach a list of the following information for each violation/citation: the name of the individual or company cited, the date of the violation/citation, the nature of the violation/citation (including references to statutes, regulations, standards or orders violated), the name of the government agency that issued the citation, and the result/penalty (see Connecticut General Statutes section 31-57b).
4. In the past 3 years, has the Proposer, or any firm, corporation, partnership or association in which the Proposer has an interest received any criminal convictions related to the injury or death of any employee? Note: If the answer is Yes, you must attach a list of the following information for each criminal conviction: the date of the incident resulting in the employee injury/death, the name of the individual or company convicted, the date of the criminal conviction, the court that issued the conviction, the nature of the conviction (including references to statutes, regulations, standards or orders violated), and the result/penalty (see Connecticut General Statutes section 31-57b). |  |  |  |  | Yes/No (Dropdown) | [7 empty] | 4. In the past 3 years, has the Proposer, or any firm, corporation, partnership or association in which the Proposer has an interest received any criminal convictions related to the injury or death of any employee? Note: If the answer is Yes, you must attach a list of the following information for each criminal conviction: the date of the incident resulting in the employee injury/death, the name of the individual or company convicted, the date of the criminal conviction, the court that issued the conviction, the nature of the conviction (including references to statutes, regulations, standards or orders violated), and the result/penalty (see Connecticut General Statutes section 31-57b).
5. Has the Proposer or any of its principals received any notices of debarment or suspension from contracting with the State of Connecticut, any other state within the United States, the federal government, or any other governmental entity? Note: If the answer is Yes, you must attach copies of all notices of debarment or suspension. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | 5. Has the Proposer or any of its principals received any notices of debarment or suspension from contracting with the State of Connecticut, any other state within the United States, the federal government, or any other governmental entity? Note: If the answer is Yes, you must attach copies of all notices of debarment or suspension.
6. Proposer affirms and declares that: neither it nor its principals are presently debarred, suspended, proposed for debarment, declared ineligible, or voluntarily excluded from covered transactions by any governmental entity in accordance with UConn Health Policy No. 2001-3 or any applicable federal laws or state laws; and that it shall disclose to UConn Health immediately in writing any debarment, suspension, proposal for debarment, voluntary exclusion or other event that makes it or any of its principals an “Ineligible Person” at any time during the course of this RFP and the term of any resulting contract. (An “Ineligible Person” is an individual or entity who: i) is currently excluded, debarred, suspended, or otherwise ineligible to participate in the federal health care programs or in federal procurement or nonprocurement programs, or ii) has been convicted of a criminal offense that falls within the ambit of 42 U.S.C. §1320a-7(a), but has not yet been excluded, debarred, suspended, or otherwise declared ineligible.) Note: Indicate Yes if Proposer affirms that the above statements are true and correct. Indicate No if Proposer refuses to affirm that the above statements are true and correct. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | 6. Proposer affirms and declares that: neither it nor its principals are presently debarred, suspended, proposed for debarment, declared ineligible, or voluntarily excluded from covered transactions by any governmental entity in accordance with UConn Health Policy No. 2001-3 or any applicable federal laws or state laws; and that it shall disclose to UConn Health immediately in writing any debarment, suspension, proposal for debarment, voluntary exclusion or other event that makes it or any of its principals an “Ineligible Person” at any time during the course of this RFP and the term of any resulting contract. (An “Ineligible Person” is an individual or entity who: i) is currently excluded, debarred, suspended, or otherwise ineligible to participate in the federal health care programs or in federal procurement or nonprocurement programs, or ii) has been convicted of a criminal offense that falls within the ambit of 42 U.S.C. §1320a-7(a), but has not yet been excluded, debarred, suspended, or otherwise declared ineligible.) Note: Indicate Yes if Proposer affirms that the above statements are true and correct. Indicate No if Proposer refuses to affirm that the above statements are true and correct.
E. Required Contract Language and Forms | [12 empty] | E. Required Contract Language and Forms
1. Proposer acknowledges that it has received and reviewed the sample purchase order and/or standard contract included with this RFP. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | 1. Proposer acknowledges that it has received and reviewed the sample purchase order and/or standard contract included with this RFP.
2. Proposer understands that, if selected, it will be expected to accept UConn Health's purchase order terms and (at UConn Health's option) sign the standard contract as written, without any exceptions or changes, unless Proposer's response includes a "redline" of the sample contract included with this RFP, which incorporates all of Proposer's requested changes using either the "Compare" or "Track changes" functions in MS Word. (An editable Word document was included with this RFP.) Note: Any proposed changes to the standard contract included with this RFP will be considered a conditional proposal, which may result in rejection of Proposer’s response, in whole or in part. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | 2. Proposer understands that, if selected, it will be expected to accept UConn Health's purchase order terms and (at UConn Health's option) sign the standard contract as written, without any exceptions or changes, unless Proposer's response includes a "redline" of the sample contract included with this RFP, which incorporates all of Proposer's requested changes using either the "Compare" or "Track changes" functions in MS Word. (An editable Word document was included with this RFP.) Note: Any proposed changes to the standard contract included with this RFP will be considered a conditional proposal, which may result in rejection of Proposer’s response, in whole or in part.
3. Does Proposer have any requested changes to the standard contract included with this RFP? Note: If the answer is No, Proposer will be expected to sign the standard contract as written, without exceptions or changes. If the answer is Yes, you must attach a "redlined" version of the sample contract included with this RFP, showing all of the changes being requested, and the contact information (name, title, phone number and email) for the person at Proposer's company who is responsible for negotiating contract language. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | 3. Does Proposer have any requested changes to the standard contract included with this RFP? Note: If the answer is No, Proposer will be expected to sign the standard contract as written, without exceptions or changes. If the answer is Yes, you must attach a "redlined" version of the sample contract included with this RFP, showing all of the changes being requested, and the contact information (name, title, phone number and email) for the person at Proposer's company who is responsible for negotiating contract language.
4. If selected as a result of this RFP, Proposer agrees to execute all State of Connecticut affidavits and certifications required at the time of award (see sample forms included with this RFP). |  |  |  |  | Yes/No (Dropdown) | [7 empty] | 4. If selected as a result of this RFP, Proposer agrees to execute all State of Connecticut affidavits and certifications required at the time of award (see sample forms included with this RFP).
5. If selected as a result of this RFP, prior to the commencement of services, Proposer agrees that it will provide UConn Health with certificates of insurance evidencing that Proposer has obtained the forms of coverage in the amounts specified in the sample contract or other documentation included with this RFP, endorsed to name The University of Connecticut Health Center as an additional insured with respect to the contracted services and stating that at least thirty (30) days’ notice will be given to UConn Health prior to any cancellation or reduction in coverage. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | 5. If selected as a result of this RFP, prior to the commencement of services, Proposer agrees that it will provide UConn Health with certificates of insurance evidencing that Proposer has obtained the forms of coverage in the amounts specified in the sample contract or other documentation included with this RFP, endorsed to name The University of Connecticut Health Center as an additional insured with respect to the contracted services and stating that at least thirty (30) days’ notice will be given to UConn Health prior to any cancellation or reduction in coverage.
6. If selected as a result of this RFP, Proposer agrees that it shall be: i) responsible for the entire performance under the contract award, regardless of whether the Proposer itself performs; ii) the sole point of contact concerning the management of the contract award, including performance and payment issues; and iii) solely and completely responsible for adherence to all applicable provisions of the purchase order/contract by all individuals and entities providing the goods/services described in this RFP. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | 6. If selected as a result of this RFP, Proposer agrees that it shall be: i) responsible for the entire performance under the contract award, regardless of whether the Proposer itself performs; ii) the sole point of contact concerning the management of the contract award, including performance and payment issues; and iii) solely and completely responsible for adherence to all applicable provisions of the purchase order/contract by all individuals and entities providing the goods/services described in this RFP.
7. If selected as a result of this RFP, Proposer agrees that in the event that its contract award with UConn Health ends for any reason (including, but not limited to, expiration, termination or cancellation), Proposer will cooperate with and provide a smooth and orderly transition to any successor entity that assumes the responsibilities in order to ensure minimal disruption and prevent any decline in service to UConn Health. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | 7. If selected as a result of this RFP, Proposer agrees that in the event that its contract award with UConn Health ends for any reason (including, but not limited to, expiration, termination or cancellation), Proposer will cooperate with and provide a smooth and orderly transition to any successor entity that assumes the responsibilities in order to ensure minimal disruption and prevent any decline in service to UConn Health.
F. Device Cybersecurity
1. Proposer has attached the completed Enchanced MDS2 form for all medical devices being proposed. |  |  |  |  | Yes/No (Dropdown)
G. Other | [12 empty] | G. Other
1. Are you proposing to charge UConn Health for shipping/freight costs in connection with goods supplied pursuant to this RFP? Note: If the answer is Yes, you must submit your freight quote and shipping details directly to logistics@triose.com and cc Jason Florentin (j.florentin@triose.com). or contact Triose directly at 866-241-2268 Ext, 204. for review and approval before you submit your proposal. Documentation of Triose's approval of the shipping costs quoted must be attached to your response. |  |  |  |  | Yes/No (Dropdown) | [7 empty] | 1. Are you proposing to charge UConn Health for shipping/freight costs in connection with goods supplied pursuant to this RFP? Note: If the answer is Yes, you must submit your freight quote and shipping details directly to logistics@triose.com and cc Jason Florentin (j.florentin@triose.com). or contact Triose directly at 866-241-2268 Ext, 204. for review and approval before you submit your proposal. Documentation of Triose's approval of the shipping costs quoted must be attached to your response.
2. If the answer to the shipping/freight question above is Yes, did Triose approve the use of your freight account or will you be using UConn Health's freight account? |  |  |  |  | Proposer's account/ UConn Health's account/ N/A (Dropdown) | [7 empty] | 2. If the answer to the shipping/freight question above is Yes, did Triose approve the use of your freight account or will you be using UConn Health's freight account?
4. PROPOSER REFERENCES
Each Proposer must provide the information requested below regarding the Proposer's current and previous clients. If the Proposer was awarded a State of Connecticut contract within the last three (3) years, the Proposer must include a State of Connecticut reference. References must be able to comment on the Proposer’s capability to meet UConn Health's needs as described in this RFP; specifically, the quality of the Proposer's goods/services, the level of customer service, and the ability to handle the type and volume of business described in this RFP. The contact person for each reference must be an individual familiar with the Proposer and its day-to-day performance. Proposers are strongly encouraged to call or write their references to ensure the accuracy of their contact information and their willingness and capability to be references. | [11 empty] | Each Proposer must provide the information requested below regarding the Proposer's current and previous clients. If the Proposer was awarded a State of Connecticut contract within the last three (3) years, the Proposer must include a State of Connecticut reference. References must be able to comment on the Proposer’s capability to meet UConn Health's needs as described in this RFP; specifically, the quality of the Proposer's goods/services, the level of customer service, and the ability to handle the type and volume of business described in this RFP. The contact person for each reference must be an individual familiar with the Proposer and its day-to-day performance. Proposers are strongly encouraged to call or write their references to ensure the accuracy of their contact information and their willingness and capability to be references.
Current Clients: Provide the following reference information for three (3) clients to whom you are currently providing goods/services comparable to those requested in this RFP.
Current Reference 1
|  |  | Name of Business: | [9 empty] | 0
|  |  | Address (Street, City, State & Zip Code): | [9 empty] | 0
|  |  | Contact Name: | [9 empty] | 0
|  |  | Phone Number: | [9 empty] | 0
Email:
|  |  | Goods/services you are providing to this client: | [9 empty] | 0
|  |  | Initial service date: | [9 empty] | 0
|  |  | DUNS # (if available): | [9 empty] | 0
Current Reference 2
|  |  | Name of Business: | [9 empty] | 0
|  |  | Address (Street, City, State & Zip Code): | [9 empty] | 0
|  |  | Contact Name: | [9 empty] | 0
|  |  | Phone Number: | [9 empty] | 0
Email:
|  |  | Goods/services you are providing to this client: | [9 empty] | 0
|  |  | Initial service date: | [9 empty] | 0
|  |  | DUNS # (if available): | [9 empty] | 0
Current Reference 3
|  |  | Name of Business: | [9 empty] | 0
|  |  | Address (Street, City, State & Zip Code): | [9 empty] | 0
|  |  | Contact Name: | [9 empty] | 0
|  |  | Phone Number: | [9 empty] | 0
Email:
|  |  | Goods/services you are providing to this client: | [9 empty] | 0
|  |  | Initial service date: | [9 empty] | 0
|  |  | DUNS # (if available): | [9 empty] | 0
Previous Client: Provide the following reference information for one (1) client to whom you previously provided goods/services comparable to those requested in this RFP. Do not use a former client as a reference for this section if your services ended due to the closing of the client's business. | [11 empty] | Previous Client: Provide the following reference information for one (1) client to whom you previously provided goods/services comparable to those requested in this RFP. Do not use a former client as a reference for this section if your services ended due to the closing of the client's business.
Previous Reference
|  |  | Name of Business: | [9 empty] | 0
|  |  | Address (Street, City, State & Zip Code): | [9 empty] | 0
|  |  | Contact Name: | [9 empty] | 0
|  |  | Phone Number: | [9 empty] | 0
Email:
|  |  | Why are you no longer servicing this customer? | [9 empty] | 0
|  |  | Service start and end dates: | [9 empty] | 0
|  |  | DUNS # (if available): | [9 empty] | 0
5. PROPOSER PRICE RESPONSE
Pricing shall remain fixed throughout the term of award. | [11 empty] | Pricing shall remain fixed throughout the term of award.
No increases to the amounts quoted as "Proposer's Discounted Price per Unit for UConn Health" will be allowed. | [11 empty] | No increases to the amounts quoted as "Proposer's Discounted Price per Unit for UConn Health" will be allowed.
No increases to the amounts quoted by Proposer as "Shipping (if any)" will be allowed, except due to documented increases in UConn Health-approved third-party shipping costs being passed through to UConn Health from Proposer. Note: If you are proposing to charge any Shipping costs, you must submit your freight quote and shipping details directly to logistics@triose.com and cc Jason Florentin (j.florentin@triose.com) or contact Triose directly at 866-241-2268 Ext 204 for review and approval before you submit your proposal. Documentation of Triose's approval of the Shipping costs quoted must be attached to your response. UConn Health reserves the right to direct the awarded Proposer to utilize UConn Health's inbound freight accounts, rather than Proposer's accounts, at any time. | [11 empty] | No increases to the amounts quoted by Proposer as "Shipping (if any)" will be allowed, except due to documented increases in UConn Health-approved third-party shipping costs being passed through to UConn Health from Proposer. Note: If you are proposing to charge any Shipping costs, you must submit your freight quote and shipping details directly to logistics@triose.com and cc Jason Florentin (j.florentin@triose.com) or contact Triose directly at 866-241-2268 Ext 204 for review and approval before you submit your proposal. Documentation of Triose's approval of the Shipping costs quoted must be attached to your response. UConn Health reserves the right to direct the awarded Proposer to utilize UConn Health's inbound freight accounts, rather than Proposer's accounts, at any time.
No increases to the amounts quoted by Proposer as "Handling (if any)" will be allowed. | [11 empty] | No increases to the amounts quoted by Proposer as "Handling (if any)" will be allowed.
The automatically-calculated percentages in the "% Discount to UConn Health" column are for UConn Health’s informational use only. Any request to increase costs to UConn Health during the term of the award must be supported with relevant documentation. | [11 empty] | The automatically-calculated percentages in the "% Discount to UConn Health" column are for UConn Health’s informational use only. Any request to increase costs to UConn Health during the term of the award must be supported with relevant documentation.
Payment terms are net 45 days. Proposers may offer cash discounts for prompt payment and such discounts for net terms less than 45 days may be considered when evaluating bid pricing. (Exception: State of CT Small Business Set-Aside bid payment terms shall be in accordance with Connecticut General Statutes Section 4a-60j.) Pursuant to Connecticut General Statutes section 12-412, UConn Health is exempt from the payment of excise, transportation and sales taxes imposed by the federal government or the state. Such taxes must be excluded from bid prices. | [11 empty] | Payment terms are net 45 days. Proposers may offer cash discounts for prompt payment and such discounts for net terms less than 45 days may be considered when evaluating bid pricing. (Exception: State of CT Small Business Set-Aside bid payment terms shall be in accordance with Connecticut General Statutes Section 4a-60j.) Pursuant to Connecticut General Statutes section 12-412, UConn Health is exempt from the payment of excise, transportation and sales taxes imposed by the federal government or the state. Such taxes must be excluded from bid prices.
Prompt Payment Terms: Enter the percentage by which invoices will be reduced if they are paid within the specified number of days. Note: If no prompt payment discount is being offered, enter 0 on both lines. | [11 empty] | Prompt Payment Terms: Enter the percentage by which invoices will be reduced if they are paid within the specified number of days. Note: If no prompt payment discount is being offered, enter 0 on both lines.
Prompt payment discount (percentage):
For payment made within (# of days):
Proposer's Price for Goods/Services Requested by UConn Health: Note: The price that you are quoting for this RFP must be entered into the "Proposer's Discounted Price per Unit for UConn Health" column.
Item #/SKU | Description of Goods/Services (No substitutes allowed unless specifically requested by UConn Health) |  |  | Quantity (Qty) | Unit of Measure (UOM) | Proposer's List Price per Unit | Proposer's Discounted Price per Unit for UConn Health | % Discount to UConn Health Calculates automatically: (List Price - Discounted Price)/List Price | Shipping per Unit (if any - already approved by Triose) | Handling per Unit (if any) | Extended Five Yr Total Lease Cost Calculates automatically: Qty x (Discounted Price + Shipping + Handling)
| "Complete" Peripheral System including an appropriately sized flat "Hybrid" panel and the capability for peripheral studies including run off, subtraction and road mapping. | [6 empty] | #DIV/0! |  |  | 0 |  |  | "Complete" Peripheral System including an appropriately sized flat "Hybrid" panel and the capability for peripheral studies including run off, subtraction and road mapping.
| Radiation Management - Dose Management for Staff & Patient |  |  | 1 | Each |  |  | #DIV/0! |  |  | 0
| Radiation Management -Radiation Protection Shield |  |  | 1 | Each
| Robotic System used for Catheter Placement and Movement |  |  | 1 | Each |  |  | #DIV/0! |  |  | 0
| Zero Gravity System used for Protective Shielding System for Staff |  |  | 1 | Each |  |  | #DIV/0! |  |  | 0
| Optimize Stent Visualization |  |  | 1 | Each |  |  | #DIV/0! |  |  | 0
| 3 D-Rotational Angiography or Cardiac Swing |  |  | 1 | Each |  |  | #DIV/0! |  |  | 0
| Large Monitor Display - All In One Monitor with Multiple Input Signals |  |  | 1 | Each |  |  | #DIV/0! |  |  | 0
| Second Set of "Slave "Monitors |  |  | 1 | Set |  |  | #DIV/0! |  |  | 0
| Integrated IVUS/FFR or OCT Imaging |  |  | 1 | Each |  |  | #DIV/0! |  |  | 0
| Multi-Modality Integration |  |  | 1 | Each | [5 empty] | 0
| Video Conferencing System |  |  | 1 | Each
| Peripheral Perfusion Imaging |  |  | 1 | Each
| Automated Contract Injector |  |  | 1 | Each |  |  | #DIV/0! |  |  | 0
| Ceiling Mounted |  |  | 1 | Each |  |  | #DIV/0! |  |  | 0
| Floor Mounted |  |  | 1 | Each |  |  | #DIV/0! |  |  | 0
| Ceiling Light - Single |  |  | 1 | Each
| Recumbent Bike |  |  | 1 | Each
| Total Equipment Cost: | [9 empty] | 0
| Lease Agreement for Five Years |  |  | 60 | Months |  |  | #DIV/0! |  |  | 0 |  |  | Second Set of "Slave "Monitors
| Full Service Package - Course tuition, airfare, hotel and transportation. Breakfast and lunch is provided for the attendee. A 2 day extensive course held at suppliers location to help realize the full potential of the equipment. |  |  | 1 | Each |  |  | #DIV/0! |  |  | 0 |  |  | #REF!
| Four Year Full Service Agreement After Warranty | [12 empty] | #REF!
| Year 1 |  |  | 1 | Year |  |  | #DIV/0! |  |  | 0 |  |  | Year 1
| Year 2 |  |  | 1 | Year |  |  | #DIV/0! |  |  | 0 |  |  | #REF!
| Year 3 |  |  | 1 | Year |  |  | #DIV/0! |  |  | 0 |  |  | #REF!
| Year 4 |  |  | 1 | Year |  |  | #DIV/0! |  |  | 0 |  |  | Year 4
| Trade-In - Siemens Axiom Artis - Purchased on 4/13/07 Serial Number: 46176 |  |  | 1 | Each | [5 empty] | 0
| Goods/services not listed above, which are offered by Proposer and may be requested by UConn Health on an as-needed basis during the term of the contract award. Proposer: Enter the % discount off of list price that you will offer to UConn Health for these additional items throughout the term of award. |  |  | TBD by UConn Health | Varies | Varies | Varies |  | Varies | Varies | Varies |  |  | Goods/services not listed above, which are offered by Proposer and may be requested by UConn Health on an as-needed basis during the term of the contract award. Proposer: Enter the % discount off of list price that you will offer to UConn Health for these additional items throughout the term of award.
Total: | [10 empty] | 0
6. PROPOSER COMMENTS/ADDITIONAL INFORMATION
Enter any additional information or clarification about your responses that you feel will assist UConn Health in evaluating your proposal. Note: If you have no additional information, enter N/A. |  |  |  |  | Type of Response Required | Proposer's Response
[5 empty] | Text | [9 empty] | 0

## Claims_Suits
UCONN HEALTH REQUEST FOR PROPOSALS |  |  |  | SCOPE & RESPONSE SPREADSHEET (Claims_Suits) UCHC RFP-05 Form Rev. 6/18 |  | RFP #: | [Number - Title]
Proposer Name:
Full name of case | Date Claim initiated | Current Status | Name of court where case is/was pending | Case/Docket number | Brief explanation of the allegations (e.g., contract dispute, medical malpractice, fraud, etc.) | Result (including any judgment or penalty) | Is any government entity a plaintiff? | If yes, identify the government entity/ies involved (e.g., US DOJ, State of Massachusetts Department of Public Health, etc.).

## Technical Specifications
UConn HealthH REQUEST FOR PROPOSALS | SCOPE & RESPONSE SPREADSHEET UCHC RFP-05 Form Rev. 5/17 | RFP #: | UCHC 1-114668776 Cardiac Catheterization Laboratory Equipment
Proposer Name:
2. SCOPE OF WORK REQUIREMENTS & QUESTIONS FOR PROPOSER
[ Contractor Responses should be M - Met Fully, C - Custom Developed, F - Future Release, N - Not Available] |  | Contractor Response | Version of Release | Date of General Availability | System/Product Name
GENERAL SYSTEM REQUIREMENTS
This request for proposal is to establish a system that will provide a complete cardiac and vascular cath lab imaging system. It will be digital single plane and provide a ceiling or floor mounted positioner with typically 16'' flat detector. The system will be equipped to provide a complete feature set for diagnostic and interventional Cardiac and Vascular Catheterizations. The system will be designed with microprocessor controlled imaging technology and have cardiac digital imaging capability included. The following is a general outline of the volume and procedure mix for UConn Health.
Combo Cardiac/Vascular
UConn Health applications mix includes 35% diagnostic; 30% interventional and 35% Vascular/Angio mix: UConn Health volume is an average of 5-10 studies per day.
The system parameters and features should be optimized to meet the above applications parameters. The system configuration should be configured to maximize system performance while minimizing cost.
ROOM LAYOUT
The intention is to fit a new Cath Lab into the existing Siemens Cath Lab space with minimum construction and without major changes to walls, control room, entry way, and ceilings.
Based on drawings provided for the existing space in the Cardiology Department, the contractor shall provide a site specific equipment layout and proposal for incorporating the Cath lab equipment with a plan to optimize work flow and patient and staff movement, and to house equipment, generator, UPS, and ancillary equipment.
The dimensions of the procedure lab are approx: 22' wide, 24' long, 9.5' high
POSITIONER/GANTRY
Option 1: Contractor to provide feasibility and pricing for CEILING MOUNTED POSITIONER/GANTRY
Contractor is to propose a ceiling-mounted gantry option and explain the advantages and costs associated with this option considering the planned cardiology and vascular peripheral procedures to be performed (bolus injections, runoffs, digital subtraction studies, etc.} Consideration should also be given to ceiling loading and positioning of the gantry, table and layout of the room to maximize usable space within the existing lab.
Option 2: Contractor to provide feasibility and pricing for FLOOR MOUNTED POSTIONER/GANTRY
Contractor is to propose a floor-mounted gantry option and explain the advantages and costs associated with this option considering the planned cardiology and vascular peripheral procedures to be performed (bolus injections, runoffs, digital subtraction studies, etc). Consideration should also be given to floor loading and positioning of the gantry, table and room layout so as to maximize usable space within the existing lab.
The gantry must provide multi-directional angulation.
The gantry must provide minimum LAO capability from 0 to 120 degrees.
The gantry must provide minimum RAO capability from 0 to 200 degrees.
The gantry must provide minimum CRANIAL capability from 0 to 45 degrees.
The gantry must provide minimum CAUDAL capability from O to 45 degrees.
The gantry rotation and angulation speed should be identified with all variations.
The gantry must provide excellent access to patient in emergency situations and to patient's head at all times. Indicate autopark & anti-collision functionality
Provide technical specifications and operational features of the positioner with respect to the following:
The system must provide an Auto Position Controller (APC) with ≥30 pre-programmed positions.
Is the rotation of the C-arm controlled both manually and motorized?
Can the gantry stand be moved when power is interrupted?
For ceiling mounted gantry, state the total weight of the gantry and the ceiling height required.
For floor mounted gantry, state the total weight of the gantry and the floor loading requirements
TABLE
The table must be rated for patients weighing ≥450 pounds. All weight rating parameters must be disclosed.
Can CPR be performed without additional support with the table fully extended?
The table must provide smooth movement with maximum patient load in place. Table must include the following accessories:
Radial Arm Boards (Not Translucent), specifically designed for radial artery catheterization for both sides of the table.
TempurPedic Mattress or UConn Health approved equivalent. Mattress to be extra thick to provide patient comfort during extended Vascular cases.
Table-mounted lead apron radiation shields on both sides of the table
Lead shield to place between patient legs for Vascular procedures
Halo accessory to place over and protect patient head and chest during selected procedures
The table must provide ≥20 inches lateral displacement; narrow table top required to allow physician to stand close to patient.
The table must provide ≥115 inches of longitudinal displacement and be able to image patient's legs and feet without moving the patient during Vascular procedures.
Technical and operational features of the Table to include the following:
The table must be equipped with autopark as well as anti-collision function
State the total weight and installation requirements of the table
Table tilt capability is not required, however, if tilt is provided with the table, state the range of tilt capability and the effect on patient weight capability
Table surface must have 4-wav float capability
Hand controls must mount on both right, left and foot sides of table and have remote control capability.
For ergonomic considerations of the cath lab staff, the hand controls should be low profile and not extend far out from the edge of the table. This will facilitate access to the patient without extreme bending by the staff. The contractor is asked to address this ergonomic requirement for use of the hand controls without excessive bending, stretching, and twisting by the staff
Describe hand control features with respect to table movement and imaging control, reporting/recording angle.
Provide hardware software required to allow physician to have tableside control of Vascular devices that may be used with the imaging system e.g. intravascular ultrasound, 3D reconstruction, etc.
Can fluoro times be reset at tableside?
Existing medical gases and electrical power outlets running up from the floor below must be accommodated at the base of the table or in a “Doghouse" on the floor below the table. Contractor does not need to provide the Doghouse or install power or medical gases. Contractor needs to accommodate this requirement as part of their table design/layout/installation.
IMAGING CHAIN
The TV camera must be a digital flat panel detector.
The system must provide a high resolution ≥1023 TV chain.
The system must provide line pair resolution capable of both diagnostic and interventional cardiac. It must provide resolution sufficient to visualize stents and guide wires routinely used in Cardiac and Vascular Catheterization. The response must specify the system’s line pair resolution.
DOSE REDUCTION/MANAGEMENT
The response must outline, in detail, all aspects of the system that relate to limiting dose exposure to the patient and to the staff. The discussion should provide documented dose exposure data taken by traditionally accepted measurement at a range of system protocol settings. The areas of discussion should include but not be limited to the following:
Pulsed fluoro
Collimation
Filtering
X-ray Tube Design
Image pickup/Acquisition Design
Software for Dose Management/Reduction
Dose Monitoring/Reporting/Recording Devices within the System
System shall display radiation dose in the lab
System shall have controllable wedge filters
TV MONITORS & SUSPENSIONS
Monitor suspension system shall be height-adjustable with rotation, swivel and longitudinal travel to both sides of the table. Monitors to be oriented typically on patient's left side of table; physician will be oriented typically on patient's right side of table
Bank of 6 ceiling suspended monitors will contain 3 black and white fluoro imaging monitors across the bottom {1 freeze, 1 live, 1 freeze) and 3 color monitors across the top with the Physiolog Hemodynamics monitor in the middle. Two other monitors will be shared between IVUS, CT from Radiology PACS, and Archived Catheterization Images from Vericis Cardiology PACS. Hospital may substitute B&W for Color monitors and receive appropriate credit.
6 bank monitor mounting is to maximize the room clearance considering that ceiling height of the lab is 9.5'. State the maximum height off the floor of the bottom edge of the monitor bank (what will be the range of vertical motion in our specific lab).
All monitors to be LCD flat screens greater than or equal to 18" (unless otherwise specified). Monitors to have at least two video inputs and will automatically switch and display image being selected for viewing.
Option: Hospital requests contractor to evaluate feasibility and propose a 4-bank monitor option in which two B&W monitors display Live and Freeze Fluoro on the bottom and a color monitor on the upper left to be switchable between Vericis Archived Fluoro/CT from Radiology PACS/IVUS and a color monitor on the upper right to display the Physiolog Hemodynamics.
SECOND BANK OF MONITORS
OPTION 1: ROLLING STAND
Hospital requires a 3 bank of monitors on a rolling stand to be oriented on patient's right side of table, opposite side of table from the 6 (of 4) bank of monitors. to accommodate alternative procedures in which the physician will operate on the patient's left side of the table.
3 bank rolling monitor stand will have 2 B&W monitors across the bottom displaying live-freeze fluoroscopy images and one Color monitor above for Hemodynamics display.
The 3 bank rolling monitor stand is to be positioned in the lab so as to allow storage against the wall, when not in use, and the cabling tethered to the monitor stand must be oriented to minimize tripping hazard on the floor when in use.
OPTION 2: CEILING MOUNTED
In lieu of the 3 bank mobile monitor rolling stand, the contractor is to propose a ceiling mounted 3 bank monitor suspension. Monitor suspension system shall be height-adjustable with rotation, swivel and longitudinal travel to right side and both ends of the table. Monitors to be oriented for typical use on patient right when physician is operating on left side of table.
Two table mounted black and white monitors in control room for fluoro
One table mounted color monitor in control room for hemodynamic monitoring
One or two monitors greater than or equal to 11" for remote fluoro and radiation dose monitoring on Physiolog hemodynamic monitoring system in lab.
The following system parameter readings must be visible to the operator at tableside: dose management, SID. fluoroscopy mode, dose rate and fluoro time, stand rotation/angulation, table tilt range, and an X-radiation on indicator.
Does the system record and display: fluoro dose, exposure dose and total dose in the exam room and control room?
GENERATOR and UPS
The generator must be of a design that is microprocessor controlled.
The generator must provide ≥100 kW output.
The generator must provide performance specifications consistent with cardiac cath lab imaging for both diagnostic and interventional applications.
Generator and equipment racks will be accommodated in the procedure lab
UPS: The generator and complete imaging system shall be equipped with an uninterrupted power supply of sufficient size to allow continuous operation of Cath Lab imaging and monitoring systems without any interruption during loss of normal power for 1 O to 15 minutes, until emergency power comes on line or until a procedure can be terminated in the event of emergency power failure.
Power conditioning will also be provided for the entire cath lab system such that any power line sags or surges will not affect imaging system operations.
UPS: contractor must provide architectural and engineering design for installation of the UPS, if it cannot be accommodated in the Procedure Lab.
FLAT PANEL
(DIGITAL DETECTOR)
The system configuration must provide a large (typically 16") flat panel detector that is designed for Cardiac and Vascular imaging requirements with selectable field sizes - state dimensions available.
Flat detector must be large enough to perform step runoffs taking simultaneous pictures of both legs.
X-RAY TUBE
The x-ray tube must be designed for Cath lab applications with a minimum of two focal spots consistent for cardiac/vascular work. Anode and casino
maximum heat units as well as the heat dissipation rate should be sufficient to support cardiac applications including both diagnostic and interventional work with a workload of at least ten cases per day
The response must specify the tube's focal spot sizes.
The response must specify the tube's anode heat rating.
The response must specify the tube's casing heat rating.
The response must specify the following tube characteristics:
Heat dissipation rate
Does tube design employ liquid bearing technology?
Time required for tube to reach operating rpm's for fluoroscopy.
Does system have self-diagnostic message warnings clearly displayed for operator at tableside?
DIGITAL IMAGING
Digital imaging is required with the following capabilities:
The system must include 525-1024 image acquisition resolution. If down-scanning or up-scanning is utilized to provide either 525 or 1024 this must be stated.
For Cath lab imaging, state the image acquisition rate in frames per second for the minimum of 1024 x 1024 image acquisitions.
The image bit depth must be >12 bits and the image depth must be specified.
The system must provide an image display of at least 30 fps, 1024x1024.
The digital system must provide tableside screen controls.
The digital system must also provide tableside quantitative analysis programs for both left ventricular and coronary stenosis analyses. The response must define whether these are manual or automated analyses.
As part of the bid response, the Contractor is to provide basic software packages required to optimize Vascular cath lab procedures.
As an option, contractor is to provide explanation with pricing for additional software packages to enhance Vascular cath lab procedures
The digital system must provide dynamic digital subtraction angiography capabilities with ore and post image display.
Describe the digital system's image storage capabilities on line.
System must provide frame grab fluoroscopy.
MISCELLANEOUS ITEMS
The following items and interfaces must be included in the proposal:
Medrad power injector - table mounted
OPTION: Medrad power injector - ceiling mounted
Radiation Shield, overhead ceiling mounted with easy movement
Mobile Radiation shield(s) for nurses’ station in procedure room at head end of table on patient's right. Contractor is to lay out table and gantry location to maximize the distance between nurse's station and X-ray source; contractor to include required radiation shielding to safeguard nursing personnel.
Compatibility with Vericis Imaging Acquisition & Archiving System must be able to send Cath Lab images to the Vericis system - include all costs associated with integrating images into the Vericis System
Cath Lab must accommodate Physiolog Hemodynamics Monitoring System with respect to a) Allow the patient interface (preamplifier) to be mounted on the table b) Provide and install cabling to display hemodynamics parameters on color monitor on both 6 {or 4) bank and 3 bank monitor suspensions c) Provide monitor and run cabling to display cath lab image on Physiolog cart in the corner of the procedure room.
Intercom with Music entertainment system, CD player with speakers as well as hands free capability. Intercom for physician at tableside to communicate with staff, in control room, and immediately above hemodynamics monitoring workstation.
As an option, contractor to provide system employing wireless headphone intercom technology
Camera/angle display and recording
Interface for Intra Vascular Ultrasound System (IVUS) - integrate imaging system with current IVUS technologies and provide one primary monitor with the IVUS cart and a remote monitor mounted on the 6 (or 4) bank monitor boom.
Provide wireless foot switch for tableside control, and control of in-lab lighting
During installation, provide and run compatible cabling and/or switching to allow display of IVUS images and patient information on 6 ( or 4) bank monitor
During installation provide and run compatible cabling and/or switching to allow display of CT images from Radiology PACS
SURGICAL LAMP
Contractor is to provide a single head ceiling mounted surgical lamp that integrates with digital single plane cath lab. Mavig Uniflex R96 or UConn Health approved equivalent.
SOFTWARE
Provide Coronary Quantification Software package

## Drop-downs (hidden)
Yes | We will use Proposer's freight account (documentation of Mega Logistics approval is attached) | I have attached a SIGNED contract with no revisions.
No | We will use UConn Health's freight account | I have attached a REDLINED contract reflecting all exceptions and requested changes.
N/A - We are not charging for shipping/freight