TOWN OF TRUMBULL, CONNECTICUT

BOARD OF EDUCATION

REQUEST FOR PROPOSAL

DESIGN BUILD PROJECT

LIGHTING RETROFIT AND UPGRADES

RE-BID 6341 	DUE:  May 21, 2019 @ 2:00PM

GENERAL INSTRUCTIONS

The Town of Trumbull, Connecticut (hereinafter referred to as Town), through the Office of the Purchasing Agent, will accept sealed bids from qualified contractors (hereinafter referred to as vendor, contractor) The Trumbull BOE is accepting proposals for the upgrade of lighting at the Frenchtown Elementary School to LED.  Additionally those ECM’s which allow for a higher comprehensive incentive will be given additional consideration as specified in accordance with the attached specifications and scope of work.

This RFP is not a contract offer, and no contract exists until a written contract is signed by the Town and the successful proposer.

NOTE:	A Pre bid Site visit prior to submitting a bid is HIGHLY ENCOURAGED by Contacting, Mark Deming 203-452-4306, or (Demingm@trumbullps.org) prior to submitting a bid. The Project is located @ 30 Frenchtown Rd, Trumbull, CT 06611

1.	PREPARATION OF BIDS

  - Bids shall be submitted by using the enclosed BID PROPOSAL FORM that accompanies this request.  Submit one (1) ORIGINAL and one (1) EXACT COPY.  Bidders should submit bids in a clear, concise and legible manner to permit proper evaluation of responsive bids.

  - Bidders may also submit, under separate cover with their proposal, any samples of reports and documents that are necessary to meet the requirements of this bid request.

2.	BID SUBMISSION

  - Bids are to be submitted in a sealed I envelope clearly marked and addressed as follows:

### Purchasing Agent – KEVIN BOVA

### RE-Bid 6341 – Due: May 21, 2019 by 2 pm sharp

Town of Trumbull

5866 Main Street

Trumbull, CT   06611

  - Please be advised that the person signing the formal proposal must be authorized by your organization to contractually bind your firm with regard to prices and related contractual obligations for the delivery period requested.

  - No oral, telephonic, or faxed proposals will be considered. Corrections, deletions, or additions to the bids may be made by wire, provided such wires are received in correct and comprehensive form prior to the opening time of bids, and confirmed by letter. No telephone corrections, deletions, or additions will be accepted. The Town reserves the right to reject any or all bids, and to waive any or all formalities in connection therewith.

3.	BID TIME

- Bids shall be received at the office of the Purchasing Agent, Town Hall, prior to the advertised hour of opening, at which time all proposals will be publicly opened and read aloud.

- A bidder may withdraw a proposal at any time prior to the above scheduled date and time.  Any bid received after the above scheduled date and time shall not be considered or opened.

4.	TOWN OPTIONS

- The Town reserves the right to reject any or all bids and to waive any requirements, irregularities, technical defects or service therein when it is deemed to be in the best interest of the Town.

- If your proposal does not meet or better the required specifications on all points, which must be outlined in a letter, otherwise it will be presumed that a proposal is in accordance with the required specifications.

- The Town of Trumbull- reserves the exclusive right to determine whether or not a proposal meets or exceeds the stated specifications.

5.	TAXES

All purchases made by the Town, and associated with the award of this requirement shall be tax exempt.  Any taxes must not be included in bid prices.  A Town Tax Exemption Certificate shall be furnished upon request.

6.	INQUIRIES

- All inquiries regarding this request shall be answered up to close of business May 14, 2019 after which time no additional questions will be accepted. To ensure consistent interpretation of certain items, answers to questions the Town deems to be in the interest of all bidders will be made available in writing or by Fax as appropriate to all bidders.  Inquiries of a technical nature may be directed to Mark Deming (203-452-4306) Director of Facilities, Trumbull Board of Education mdeming@trumbullps.org . All other questions may be directed to Kevin J. Bova Purchasing Agent (203.452.5042) kbova@trumbull-ct.org

- Additionally, after proposals are received, the Town reserves the right to communicate with any or all of the bidders to clarify the provisions of Proposals.  The Town further reserves the right to request additional information from any bidder at any time after proposals are opened.

- It is the sole responsibility of the responding firm to verify any addendums that may have been issued relating to this request prior to submission of a proposal.  Failure to submit a bid or proposal that does not address any changes or addendums may result in a disqualification of a bid submission.

7.	AWARD AND AUTHORITY

The Town Purchasing Agent will issue notification of award in writing along with a Standard Contract agreement. Then Town purchasing Agent will issue a Purchase order.

The Award will be based on Best Quality & value with the base bid(s) and with or without Alternates that meet the specifications and scope of work.

The award shall be made after careful consideration of all factors including but not limited to price.

8.	PRICING

All prices quoted are to be firm for a period of one hundred and twenty (120) days following bid opening.  Special Consideration will be given to responses with extended firm price dates.  The Town is always interested in any and all cost reduction opportunities.

Special consideration may be granted to bidders with expedited installation dates.

9.          PROPOSAL, BID BOND, PERFORMANCE AND PAYMENT BONDS

- A Bid Bond payable to the Town must accompany each Proposal for ten (10%) percent of the total amount of the Proposal.  As soon as the Proposal prices have been compared, the Town will return the bonds to all except lowest qualified responsible Proposal. The Bid Bond of the successful Bidder will be retained until the Payment Bond have been executed and approved, after which it will be returned. A certified check may be used in lieu of a Bid Bond.

- A Performance Bond and a Payment Bond, each in the amount of 100 percent (100%) of the Contract Price, with a corporate surety approved by the Owner, will be required for the faithful performance of the contract.  Attorneys-in-fact who sign the Bid Bonds or Payment Bonds and Performance Bonds must file with each bond, a certified and effective dated copy of their power of attorney.

- The party to whom the contract is awarded will be required to execute the Agreement and obtain the Payment Bond & payment Bond within ten (10) calendar days from the date when Notice of Award is delivered to the Proposer. The Notice of Award shall be accompanied by the necessary Agreement and Bond forms. In case of failure of the Proposer to execute the Agreement, the Town may, at his option, consider the Proposer in default, in which case the Bid Bond accompanying the proposal shall become the property of the Town.

- The Town, upon receipt of acceptable Payment Bond and Agreement signed by the Contractor, shall sign the Agreement and return to the Contractor an executed duplicate of the Agreement within a reasonable period of time. The returned executed Agreement by the Town to the Contractor shall be accompanied with a Notice to Proceed.

NOTE: Failure to provide a Bid Bond or equivalent security is not cause for a waiver defect. Any bid not

Accompanied by such security will be excluded from consideration.

10.	ASSIGNMENT OF RIGHTS, TITLES, AND INTERESTS

Any assignment or subcontracting by a services to be provided bidder, vendor, or contractor for work to be performed, or goods and/or, in whole or in part, and any other interest in conjunction with Town procurement shall not be permitted without the express written consent of the Town of Trumbull. Affirmative action /equal opportunity employer. Minority / women owned business enterprise are encouraged to apply

No contract may be assigned or transferred without the consent of the Purchasing Authority.

11.	HOLD HARMLESS CLAUSE

Bidder agrees to indemnify, hold harmless and defend the Town from and against any and all liability for loss, damage or expense which the Town may suffer or for which the Town may be held liable by reason of injury, including death, to any person or damage to any property arising out of or in any manner connected with the operations to be performed under an agreement with the Town, whether or not due in whole or in part of any act, omission or negligence of the Town or any of his representatives or employees.

12.	WORK REGULATIONS AND STANDARDS

PREVAILING WAGES WILL BE NEEDED AND ARE ATTACHED & AVAILABLE ON THE TOWN HALL WEBSITE

All work activities performed in association with this request must be performed and completed for the Town in accordance with current Federal State and Local regulations.  All services performed shall also conform to the latest OSHA standards and/or regulations. Additional regulations and/or standards as listed in the specifications shall apply.

Applicable laws and regulations relating to State of Connecticut Prevailing Wages apply. If the total amount of

The project, including any current or future change orders, exceeds $100,000.00 all work is to be done in

Accordance with the Davis-Bacon Act as amended; that is conditions of Prevailing Wage shall apply. All

Current Davis Bacon wage information may be accessed online at no cost at www.ctdol.state.ct.us (The

Town will apply the most current wage decision applicable at the time of contract award.)Employment

Practices, nondiscrimination, safety and health regulations shall be adhered to by the contractor.  The contractor shall be

Responsible for “Certified Statements of Compliance” regarding Prevailing Wages.  Contractor shall also collect and

Submit four (4) Certified “Statements of Compliance” from any sub-contractors.

13.	WARRANTIES

A copy of all applicable warranties must be submitted in full detail.

14.	DELIVERY

- Installation & schedule shall be scheduled with the Facilities Director BOE Mark Deming.

- Special consideration may be given to bidders that can expedite installation.

- ALL INVOICES TO BE SENT TO BOE ATT:  Mark Deming

BOE LONG HILL ADMIN BUILDING

6254 MAIN STREET TRUMBULL CT 06611

15.	CONFLICT OF INTEREST

Public officials shall be prohibited from receiving any town work procured through a public

Bid or bid waived process so as to avoid any appearance of impropriety or conflict of interest;

And; Public officials cannot circumvent the intent of this ordinance by receiving town work

Through a bid waiver, as proscribed by the Trumbull Town Charter.

16.       STATEMENT OF QUALIFICATIONS AND REFERENCES

Bidders shall complete and submit the “Statement of Qualifications” section of this request along with the References

Form.  The Town may make such investigations as necessary and it deems appropriate to

Determine the qualifications of the proposer to perform the work required.  If the Town is not satisfied that the proposer is

Properly qualified, The Town along with the BOE reserves the right to reject the proposal of said

Proposer.

17.	INSURANCE

The successful bidder shall provide the Town Purchasing Agent with a Certificate of Insurance before work commences.  The Town shall be named as an additional insured with Insurance Company licensed to write such insurance in Connecticut, against the following risks and in not less than the following amounts:

- Worker’s Compensation

- Contractor’s Public Liability and Property Damage

- Automobile Insurance

| General Liability | Each Person | Each Occurrence | Aggregate |
| --- | --- | --- | --- |
| Bodily Injury Liability | $1,000,000 | $1,000,000 | $2,000,000 |
| Property Damage Liability | $1,000,000 | $1,000,000 | $2,000,000 |
| Personal Injury Liability | $1,000,000 | $1,000,000 | $2,000,000 |
| Comprehensive Automobile Liability |  |  |  |
| Bodily Injury | $1,000,000 | $1,000,000 | $2,000,000 |
| Property Damage |  | $1,000,000 | $2,000,000 |

The insurance policy must contain the additional provision wherein the company agrees those thirty (30) days prior to termination, expiration, cancellation or reduction of the insurance afforded by this policy with respect to the contract involved, written notice will be served by registered mail to the Town.

In the event of cancellation, the contractor will cease all operations on or before the effective date of said cancellation and shall not commence work again until he has obtained replacement insurance and has delivered a Certificate of Insurance to the Town Purchasing department & BOE Facilities Department Office.

.

18.	SPECIFICATIONS –

- Each Bidder will be held responsible to have studied the Specifications, visit the site regarding the proposed work, satisfied itself regarding all existing conditions and measurements, and to have included in the proposal an amount sufficient to cover all work.

- Should any Bidder find discrepancies in the Specifications, or be in doubt as to the exact meaning, notify the Town at once.  The Town may then, at their option, issue Addenda clarifying same.  The Town shall not be responsible for oral instructions or misinterpretations of Specifications.

- The Town reserves the right to issue Addenda at any time prior to the Bid Opening.  All such Addenda become, upon issuance part of the Specification.  Each Bidder shall cover such Addenda in the proposal and shall acknowledge receipt of same on the blank provided therefore.  It is the bidders’ responsibility to access the Town’s website or contact the Town for any addenda that may be issued in conjunction with this bid.

- The Town reserves the right to require any or all Bidders to submit statements as to previous experience in performing comparable work; and as to financial and technical organizations and resources available for this work.  The mere opening and reading aloud of a bid shall not constitute or imply the Town’s acceptance of the suitability of a Bidder or the bid, nor shall possession of Drawings or Specifications constitute an invitation to bid.  The competency and responsibility of Bidders as well as the number of working days required for completion will be considered in making an award.

19.             LOWEST RESPONSIBLE PROPOSAL

- The Town along with the BOE shall determine the “lowest responsible qualified proposer” on the basis of the Proposer submitting the lowest “Total Proposal”, responsiveness of his Technical Proposal; and demonstrating a history of the ability and integrity necessary to perform the required work; and certifying that it shall perform the work in accordance with the specifications, scope of work and drawings if apical.

- Proposals will be compared on the basis of the “Total Proposal” of the items listed in the Proposal and on basis of the Proposer’s experience and competence.

- If the Lowest Total Proposal exceeds the amount of funds available for the project, The Town along with the BOE Department reserves the right to increase or decrease any class, item or part of the work.  After determining the “lowest responsible qualified proposer”, the Town will issue a Notice of Award to the successful Proposer.

- In the event that the lowest responsible qualified proposer fails to execute the Contact and/or fails to provide the required documents within the time period prescribed, the Town at its option may consider the lowest responsible qualified proposer to be in default, in which case the Bid Guarantee shall become the property of the Town.

- The award shall be made after careful consideration of all factors including but not limited to price.

20.	Site Visitation and Inspection of Existing Conditions

All bidders must visit the sites and inspect the existing conditions.

A Pre bid Site visit prior to submitting a bid is HIGHLY ENCOURAGED by Contacting, Mark Deming 203-452-4306, or (Demingm@trumbullps.org) prior to submitting a bid. The Project is located 30 Frenchtown Rd, Trumbull, CT 06611

21.	Addendums

It is the responsibility of all proposal submitters to verify with the Town if any addendums or changes to this bid have been made.  All and any addendums will be posted on the Town of Trumbull – Purchasing Department website. www.trumbull-ct.gov .

22             Miscellaneous

- All Contractors shall develop a complete and thorough schedule, which demonstrates that the Contractor will be able to complete the project in a timely fashion.

- Selected proposer agrees to warranty all work completed for this requirement.

- The Town may make such investigations as necessary and it deems appropriate to determine the qualifications of the proposer to perform the work required.  Each proposer shall submit the Statement of Qualifications section (contained herein).  If the Town is not satisfied that the proposer is properly qualified, the Town reserves the right to reject the proposal of said proposer.

TOWN OF TRUMBULL, CONNECTICUT

BOARD OF EDUCATION

REQUEST FOR PROPOSAL

DESIGN BUILD PROJECT

LIGHTING RETROFIT AND UPGRADES

RE-BID 6341 	DUE:  May 21, 2019 @ 2:00PM

General Conditions & Scope of Work

Lighting retrofit and upgrades

Specifications

Frenchtown Elementary School

30 Frenchtown Road

Trumbull Ct 0661

The Trumbull BOE is accepting proposals for the upgrade of lighting at the Frenchtown Elementary School to LED.  Additionally those ECM’s which allow for a higher comprehensive incentive will be given additional consideration.

- This is a design/build request for proposal.

- The main intent of this project is to reduce lighting costs within the school, exterior building lights and parking lot lights, while maintaining required lumens as mandated for educational facilities.

- Existing parking lot lighting system is 480V and the conversion to 120V/277V will be included in all proposals, attached is a floor plan identifying locations of panels feeding parking lot lights.

- Focus should be placed on reducing the number of fixtures, ballast and lamp SKU’s that are currently within the buildings lighting system.

- This project may for utility incentive purposes be combined with other ECM’s in order to comply with comprehensive incentive levels.

- Bidders should take into consideration when designing this project those lighting controls required by the utility to qualify for comprehensive level incentives.

- Award of the bid will be based on the following criteria:

- Cost of project

- Calculated and verified ROI without maintenance factors

- Warranty of products proposed and used, for both fixtures, lamps, ballasts, drivers and labor.

- SKU reductions and overall quantity of fixture reductions.

- Verified utility incentive commitment.

- Vendor/contractors shall provide all necessary tools, equipment, lifts and labor to accomplish this project as part of their proposal.

- Provide as part of their bid a completed lighting audit, demonstrating existing fixtures and proposed replacement or retro-fit, and a calculated ROI.

- In calculating the ROI the use of maintenance reduction cost will not be allowed, this will be an energy reduction only ROI.

- In calculating ROI’s all vendors or contractors shall use a cost of $0.18 per KWH to insure consistency across bids.

- Provide specification sheets on lamps, fixtures, ballasts or drivers that will be used to accomplish the project.

- Only those personnel licensed to perform this type of work in the state of Connecticut should submit proposals.

- Should a permit be required to accomplish any or part of this project, it will be the responsibility of the vendor/contractor.

- The BOE will provide for ceiling tiles that are left open as a result of removing unnecessary fixtures.

- All lamps, ballasts and fixtures that are removed or replaced shall be properly disposed of offsite by the contractor. Placement of dumpster on site or other disposal arrangements are the responsibility of the contractor.

- Incentives will be the property of the Trumbull Public Schools and will not be used by vendor to offset the cost of the project as proposed.

The following will be provided to all bidders as part of the bid request:

All Bids must be completed on the Town of Trumbull Bid forms also need to submit any subcontractor, references, experience A&B & Statement of qualifications as posted on the website (no exceptions). Additional materials that are provided by the bidder are considered supplemental.

- All submissions must include the required Bid Bond.

- It is the responsibility of all proposal submitters to verify with the Town if any addenda or changes to this bid have been made. All Addenda must be acknowledged.

- It is the responsibility of all proposal submitters to understand the intent and scope of this project.

Regarding the intent and the scope, we wish to emphasize the following:

- The main intent of this project is to reduce lighting costs within the school, exterior building lights and parking lot lights, while maintaining required lumens as mandated for educational facilities.

- Focus should be placed on reducing the number of fixtures, ballast and lamp SKU’s that are currently within the buildings lighting system. Emphasis is on reducing annual energy costs.

- Warranty of products should be for a minimum of 5 years.

- Only those personnel licensed to perform this type of work in the state of Connecticut should submit proposals.

- There should be no line voltage lamp replacement.

(This list is not exhaustive and all Bid documents should be read and followed carefully).

Please see Bid 6341 – Prevailing wage

TOWN OF TRUMBULL, CONNECTICUT

BOARD OF EDUCATION

REQUEST FOR PROPOSAL

DESIGN BUILD PROJECT

LIGHTING RETROFIT AND UPGRADES

RE-BID 6341 	DUE:  May 21, 2019 @ 2:00PM

REFERENCES

## (To be submitted with proposal – attach additional pages as necessary)

### List references for similar services provided for at least four (4) clients in the past five (5) years (attach any other client references if desired).  PLEASE NOTE IT IS THE TOWN’S INTENT TO COMMUNICATE WITH THE REFERENCES LISTED HEREIN.

### CLIENT 1:

### Organization Name: ________________________________________________

Contact Name:	__________________________________________ Phone: ___________________________

Service Dates: _____________________________________________________

Project(s):   ___________________________________________________________________________________

CLIENT 2:

Organization Name: ________________________________________________

Contact Name:	__________________________________________ Phone: ___________________________

Service Dates: _____________________________________________________

Project(s):   ___________________________________________________________________________________

CLIENT 3:

Organization Name: ________________________________________________

Contact Name:	__________________________________________ Phone: ___________________________

Service Dates: _____________________________________________________

Project(s):   ___________________________________________________________________________________

CLIENT 4:

Organization Name: ________________________________________________

Contact Name:	__________________________________________ Phone: ___________________________

Service Dates: _____________________________________________________

Project(s):   _________________________________________________________________________________

TOWN OF TRUMBULL, CONNECTICUT

BOARD OF EDUCATION

REQUEST FOR PROPOSAL

DESIGN BUILD PROJECT

LIGHTING RETROFIT AND UPGRADES

RE-BID 6341 	DUE:  May 21, 2019 @ 2:00PM

EXPERIENCE

Schedule A: Prior Experience (Add Additional Pages as Needed)

| Project | Owner | Design Professional | Contract Price | Amount Completed | Date of Scheduled Completion |
| --- | --- | --- | --- | --- | --- |

Schedule B: Current Experience (Add Additional Pages as Needed)

| Project | Owner | Design Professional | Contract Price | Amount Completed | Date of Scheduled Completion |
| --- | --- | --- | --- | --- | --- |

TOWN OF TRUMBULL, CONNECTICUT

BOARD OF EDUCATION

REQUEST FOR PROPOSAL

DESIGN BUILD PROJECT

LIGHTING RETROFIT AND UPGRADES

RE-BID 6341 	DUE:  May 21, 2019 @ 2:00PM

THE PROPOSER SHALL STATE THE NAMES OF ALL OF ALL PROPOSED SUBCONTRACTORS.

PROPOSED SUBCONTRACTORS

If none, write "None"__________________________________.

*Description of Work____________________________________________________

Proposed Subcontractor Name _____________________________________

Address________________________________________________________

*Description of Work____________________________________________________

Proposed Subcontractor Name _____________________________________

Address________________________________________________________

*Description of Work____________________________________________________

Proposed Subcontractor Name _____________________________________

Address________________________________________________________

*Description of Work____________________________________________________

Proposed Subcontractor Name _____________________________________

Address________________________________________________________

*Insert description of work and subcontractors' names as may be required.

This is to certify that the names of the above-mentioned subcontractors are submitted with full knowledge and consent of the respective parties.

The Proposer warrants that none of the proposed subcontractors have any conflict of interest as respects this contract.

Proposer	_____________________________________

(Fill in Name)

By ___________________________________________

(Signature and Title)

TOWN OF TRUMBULL, CONNECTICUT

BOARD OF EDUCATION

REQUEST FOR PROPOSAL

DESIGN BUILD PROJECT

LIGHTING RETROFIT AND UPGRADES

RE-BID 6341 	DUE:  May 21, 2019 @ 2:00PM

###### Bid Form / PROPOSAL FORM

ADDENDA

The following Addenda have been received.  The modifications to the Bid Documents noted therein have been considered and all costs thereto are included in the Base Bid.

Addenda #	_________, ___________, __________, ___________, ____________

The undersigned affirms and declares that this proposal is executed with full knowledge and acceptance of the specifications, requirements, terms and conditions contained herein and with complete understanding and full compliance of system requirements and hereby submits this proposal for the request noted above and certifies that this proposal meets all the specifications and conditions requested herein.  Any substitutions to the specifications requested are clearly and completely noted.  Any alternate proposals are presented in a similar format to those requested and are attached herein.  It is understood that the Town reserves the right to reject any or all proposals or waive any formalities in this request.

This proposal is submitted in full compliance with all Specifications and General Terms and Conditions except as noted below under exceptions.

The quality of workmanship is guaranteed for a period of __________ year(s) from acceptance.

This Quotation / Proposal is to remain firm for 120 DAY

By submission of this Proposal, each Proposer certifies, that this Proposal has been arrived at independently, without consultation, communication, or agreement as to any matter relating to this Proposal with any other Proposer or with any competitor.

Proposer hereby agrees to commence work under this contract on or before a date to be specified in the “Notice of Award & to Proceed”, and to fully complete the Project within SIXTY (60) consecutive calendar days thereafter.

Proposer understands that the Owner (the Town and or the board of Education) reserves the right to reject any or all proposals and to waive any informality in the bidding.

Upon receipt of written notice of the acceptance of this proposal, proposer shall execute the formal contract attached within five (5) days and deliver a Surety Bond or Bonds as required in the General Conditions.  The Bid Security attached in the sum of___________________________________________________________Dollars ($________________) is to become the property of the Owner in the event the contract and bond are not executed within the time above set forth, as liquidated damages for the delay and additional expense to the Owner caused thereby.

BID FORM SIGNATURE (S)

The Corporate Seal

______________________________________________________________________________

(Bidder - print the full name of Proprietorship, Partnership, or Corporation)

Was hereunto affixed in the presence of:

_________________________________________________	______________________________

(Authorized signing officer)					(Title)

(Seal)

___________________________________________	                _______________________________

(Authorized signing officer)				                (Title)

If the Bid is a joint venture or partnership, add additional forms of execution for each member of the joint venture in the appropriate form or forms as above.

TOWN OF TRUMBULL, CONNECTICUT

BOARD OF EDUCATION

REQUEST FOR PROPOSAL

DESIGN BUILD PROJECT

LIGHTING RETROFIT AND UPGRADES

RE-BID 6341 	DUE:  May 21, 2019 @ 2:00PM

PROPOSAL FORM continued

Total cost for REPLACEMENT ON LIGHTING RETROFIT AND UPGRADES as per written requirements @Frenchtown Elementary School

Per specifications and scope of work.

TOTAL proposed (turnkey

FIGURES $____________________________________________________________

$___________________________________________________________Dollars

Written in Words

Quotation is good for 120 days __________

____________________________________		______________________________________

Company Name					  by (Signature)

____________________________________		______________________________________

Address						Print Name (Duly Authorized Representative)

___________________________________		______________________________________

Town –City -Zip				               	Title

____________________________________		______________________________________

Date						  Telephone/Fax

___________________________________		______________________________________

Email						   Cell Phone/ Alt.Contact Number

TOWN OF TRUMBULL, CONNECTICUT

BOARD OF EDUCATION

REQUEST FOR PROPOSAL

DESIGN BUILD PROJECT

LIGHTING RETROFIT AND UPGRADES

RE-BID 6341 	DUE:  May 21, 2019 @ 2:00PM

STATEMENT OF QUALIFICATIONS (To be submitted with proposal)

Submitted by:

Name of Organization 	_____________________________________________________________

Name of Individual	 _______________________________________________________________

Title 	_____________________________________________________________

Address 	_____________________________________________________________

_____________________________________________________________

_____________________________________________________________

Telephone __________________	Fax:	________________ Cell: ___________________

General Business Information

Check If: ____Corporation 	____Partnership 	____ Joint Venture 	____Sole Proprietorship

If Corporation:

a. Date and State of Incorporation

_____________________________________________________________________________

_____________________________________________________________________________

b. List of Officers

Name Title

_____________________________________________________________________________

_____________________________________________________________________________

_____________________________________________________________________________

_____________________________________________________________________________

If Partnership

a. Date and State of Organization

_____________________________________________________________________________

b. Names of Current General Partners

_____________________________________________________________________________

c. Type of Partnership

General Publicly Traded

Limited other (describe):______________________________________

If Joint Venture:

a. Date and State of Organization

_____________________________________________________________________________

b. Name, Address and Form of Organization of Joint Venture Partners: (Indicate managing partner by an asterisk*)

_____________________________________________________________________________

_____________________________________________________________________________

If Sole Proprietorship:

a. Date and State of Organization

_____________________________________________________________________________

_____________________________________________________________________________

b. Name and Address of Owner or Owners

_____________________________________________________________________________

_____________________________________________________________________________

1. On Schedule A, attached, list major engineered construction projects completed by this organization in the past five (5) years. (If a joint venture list each participant's projects separately).

2. On Schedule B, attached, list current projects under construction by this organization. (If joint venture, list each participant's projects separately).

3. Name of Surety Company and name, address, and phone number of agent.

_____________________________________________________________________________

_____________________________________________________________________________

4. Is your organization a member of a controlled group of corporations as defined in I.R.C. Sec. 1563?

Yes___		 No ____

If yes, show names and addresses of affiliated companies.

_____________________________________________________________________________

5. Furnish schedule A & B, attached, details of the construction experience of your organization directly involved in construction operations.

6. Has your organization ever failed to complete any construction contract awarded to it? 
Yes___		 No ____

If yes, describe circumstances on attachment.

7. Has any Corporate officer, partner, joint venture participant or proprietor ever failed to complete a construction contract awarded to him or her in their own name or when acting as a principal of another organization?

Yes___		 No ____

If yes, describe circumstances on attachment.

8. In the last five years, has your organization ever failed to substantially complete a project in a timely manner?

Yes___		 No ____

If yes, describe circumstances on attachment.

I hereby certify that the information submitted herewith, including any attachment is true to the best of my knowledge and belief.

Name of Organization: _______________________________________

By: _______________________________________

Title: _______________________________________

Dated: _______________________________________

TOWN OF TRUMBULL, CONNECTICUT

BOARD OF EDUCATION

REQUEST FOR PROPOSAL

DESIGN BUILD PROJECT

LIGHTING RETROFIT AND UPGRADES

RE-BID 6341 	DUE:  May 21, 2019 @ 2:00PM

#### NON-COLLUSION AFFIDAVIT OF PRIME BIDDER

State of  	                                                                                            )

) SS:

County of                                                                                            )

, being first duly sworn,

1.	He is                                                                    of

The bidder that has submitted the attached bid.

- He is fully informed respecting the preparation and contents of the attached Bid and of all pertinent circumstances respecting such bid.

- Such price is genuine and is not a collusive or sham bid.

- Neither the said Bidder nor any of its officers, partners, owners, agents, representatives, employees or parties in interest, including this affiant, has in any way colluded, conspired, connived or agreed, directly or indirectly with any other Bidder,   firms or person to submit a collusive or sham Bid in connection with the Contract for  which the Contract, or has in any manner, directly or indirectly, sought by agreement or collusion or communications  or conference with any other Bidder, firm or person to fix  the proceeds or prices in the attached Bid or of any other Bidder, or to fix any overhead, profit or cost element of the Bid price or the Bid price of any bidder, or to secure through any collusion, conspiracy, connivance or unlawful agreement any advantage, against the Town of Trumbull, (Owner) or any person  interested in the proposed  Contract;   and

- The price or prices quoted in the attached Bid are fair and proper and are not   tainted by any collusion, conspiracy, connivance or unlawful agreement on the part of the Bidder or any of its agents, representatives, owners, employees, or parties in interest including this affiant.

Signed

Subscribed and sworn to before me this            day of                                            , 20

Title

My Commission Expires

END OF RE- BID 6341