March 19, 2020

ADDENDUM #1

Danielson Domestic Violence shelter

Scheduled Renovations and Modernization’s

Killingly, CT.

The following changes to the documents specified above shall become a part of those documents as though bound therein.  Acknowledge the receipt of the Addendum in the submitted bid, noted on form letter, letter head or form used to provide the information of the bid to be reviewed by NFA ‘Failure to properly acknowledge the receipt of this addendum may subject the bidder to disqualification’.

Drawings & Specifications:

Item #1:

SAM System for Award Management Electronic Sign in forms.	  4 pages

ALL subcontractors need to be registered on the SAM.gov website

Here are the step by step guides for the DUNS number and the SAM.gov

Item #2:

Clarification: Drawing A-3 references 5/4” x 3 1/3” ‘Azek’ Trim, but specification 07460

References: 5/4” x 3 1/2'” Vinyl Window and Door surrounds.  The General contractor is to provide and install the 5/4” x 3 ½” Vinyl window and Door Trims, to create a complete package of vinyl installation.

Item #3:

Clarification of Room Finish Schedule: Rooms: Conflicts in Room Finish Schedule, under the heading of Floor Finishes: delete indicated New Vinyl plank Flooring and existing Oak strip and finished.

Use and refer to sheet a-6 ‘Expansion to Barn & Floor Finish first and Second Floor.  Follow the indicated arrangement of Vinyl Plank, Carpet Square, Existing Wood Flooring sanded, 3 coats of Polyurethane Finish, Painted plywood.

Item #4:

Sheet A-2 Note indicating existing plaster/ gypsum board wall and ceiling to be patched and painted.

There will be rooms (walls and ceilings) remaining that will need to be painted and conditions for patching.

Item #5:

Clarification on Bidding and Current Health related requirements.

Yes we can still have the bid opening; however, bids will be due on April 1, 2020 at 2:00 p.m. and opened the following day.  Contractors can arrange a specific time to drop their bid, use a carrier or place the bid in the town’s drop box.  We are required to wait at least 12 hours to open the bids and we can set up a face book live to broadcast the opening.  We will send specific information on how to access the bid opening closer to the bid date.

End of Addendum #1

Item #6:

Clarification on existing vinyl siding removal and new work: A question on siding removal and new has

been asked; All existing vinyl siding shall be removed and the entire building shall be resided including

the scheduled dormer addition.

Item #7:

Attached find a specification for Post formed plastic laminated counter as requested.

Item #8:  Clarification on Sales Taxes and Permit Fees:

United Services, Inc. is the owner of the property and is a non-profit organization.  Consequently, sales tax can be waived.  This project is not Town-owned and permits will be required.